Construction Stormwater Pollution Prevention Plan Template

To help you develop a SWPPP that is consistent with Ohio NPDES General Permit Number OHC000005 and City Rules and Regulations the City of Middletown has modified this SWPPP Template (or, “the Template”) made available from the U.S. EPA here. Use of the Template will help ensure that your SWPPP addresses all the necessary elements required. Before completing the Template, make sure you read and understand all requirements.

FROM ORIGINAL TEMPLATE>>To be covered under the U.S. Environmental Protection Agency’s (EPA) Construction General Permit (CGP), all construction operators are required to develop a “Stormwater Pollution Prevention Plan” (or “SWPPP”) prior to submitting a Notice of Intent (NOI) for permit coverage. EPA created this SWPPP Template to help you develop a SWPPP that is compliant with the minimum requirements of Part 7 of EPA’s 2022 Construction General Permit (“2022 CGP”), and is customizable to your specific project and site.

Instructions for Using the SWPPP Template

Each section of the SWPPP Template includes instructions and space for your project and site information. Read the instructions for each section before you complete that section. Specific instructions on what information to include is indicated in each text field in blue text. Click on the blue text and the instructions will disappear once you start typing. The SWPPP Template is an editable document file so that you can easily add tables and additional text and delete unneeded or non-applicable fields. Note that some sections may require only a brief description while others may require several pages of explanation.

The following tips for using this template will help ensure that you meet the minimum permit requirements:

- Read the 2022 CGP thoroughly before you begin preparation of your SWPPP to ensure that you have a working understanding of the permit’s underlying requirements. You will also need to consult Part 9 of the permit to determine if your State or Tribe has included additional requirements that affect you.

- Complete the SWPPP prior to submitting your NOI for permit coverage. This is required in Parts 1.4 and 7.1.

- If you prepared a SWPPP under a previous version of EPA’s CGP, you must update your SWPPP to ensure that the 2022 CGP requirements are addressed prior to submitting your NOI.

- If there is more than one construction operator for your project, consider coordinating development of your SWPPP with the other operators.

- Once EPA has provided your site with coverage under the CGP, include your NOI, your authorization email, and a copy of the CGP as attachments to the SWPPP. See Appendices B and C of the SWPPP Template.

While EPA has made every effort to ensure the accuracy of all instructions contained in the SWPPP Template, it is the permit, not the template, that determines the actual obligations of regulated construction stormwater discharges. In the event of a conflict between the SWPPP Template and any corresponding provision of the 2022 CGP, you must abide by the requirements in the permit. EPA welcomes comments on the SWPPP Template at any time and will consider those comments in any future revision of this document. You may contact EPA for CGP-related inquiries at cgp@epa.gov.

Stormwater Pollution Prevention Plan (SWPPP)

For Construction Activities At:

Insert Project/Site Name

Insert Project Site Location/Address

Insert City, State, Zip Code

Insert Project/Site Telephone Number

SWPPP Prepared For:

Insert Operator Company or Organization Name

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

SWPPP Prepared By:

Insert Company or Organization Name

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

SWPPP Preparation Date:

Insert Date

Estimated Project Dates:

Project Start Date:  Insert Date

Project Completion Date: Insert Date

Contents

SECTION 1: CONTACT INFORMATION/RESPONSIBLE PARTIES	5

1.1	Operator(s) / Subcontractor(s)	5

1.2	Stormwater Team	0

SECTION 2: SITE EVALUATION, ASSESSMENT, AND PLANNING	2

2.1	Project/Site Information	2

2.2	Discharge Information	.

2.3	Nature of the Construction Activities	5

2.4	Sequence and Estimated Dates of Construction Activities	7

2.5	Authorized Non-Stormwater Discharges	9

2.6	Site Maps	11

SECTION 3: DOCUMENTATION OF COMPLIANCE WITH OTHER FEDERAL REQUIREMENTS	13

3.1	Endangered Species Protection	13

3.2	Historic Property Screening Process	17

3.3	Safe Drinking Water Act Underground Injection Control Requirements	19

SECTION 4: EROSION AND SEDIMENT CONTROLS	20

4.1	Natural Buffers or Equivalent Sediment Controls	20

4.2	Perimeter Controls	23

4.3	Sediment Track-Out	24

4.4	Stockpiled Sediment or Soil	25

4.5	Minimize Dust	25

4.6	Minimize Steep Slope Disturbances	26

4.7	Topsoil	26

4.8	Soil Compaction	27

4.9	Storm Drain Inlets	27

4.10	Constructed Site Drainage Feature	28

4.11	Sediment Basins	29

4.12	Chemical Treatment	29

4.13	Dewatering Practices	30

4.14	Other Stormwater Controls	31

4.15	Site Stabilization	32

SECTION 5: POLLUTION PREVENTION STANDARDS	35

5.1	Potential Sources of Pollution	35

5.2	Spill Prevention and Response	36

5.3	Fueling and Maintenance of Equipment or Vehicles	36

5.4	Washing of Equipment and Vehicles	37

5.5	Storage, Handling, and Disposal of Building Products, Materials, and Wastes	37

5.6	Washing of Applicators and Containers used for Paint, Concrete or Other Materials	40

5.7	Fertilizers	40

5.8	Other Pollution Prevention Practices	41

SECTION 6: INSPECTION, MAINTENANCE, AND CORRECTIVE ACTION	42

6.1	Inspection Personnel and Procedures	42

6.2	Corrective Action	44

6.3	Delegation of Authority	44

SECTION 7: TURBIDITY BENCHMARK MONITORING FROM DEWATERING DISCHARGES	46

SECTION 8: CERTIFICATION AND NOTIFICATION	47

SWPPP APPENDICES	48

# CONTACT INFORMATION/RESPONSIBLE PARTIES

## Operator(s) / Subcontractor(s)

### Instructions: expand headings for instructional information

(see definition of “operator” at CGP Part 1.1.1), (OHC000005 Part lll.G.1.l.):

Identify all site operators who will be engaged in construction activities at the site and the areas of the site over which each operator has control (Part 7.2.1). Indicate respective responsibilities, where appropriate. Also include the 24-hour emergency contact.

List subcontractors expected to work on-site. Notify subcontractors of stormwater requirements applicable to their work.

Consider using Subcontractor Agreements such as the type included as a sample in Appendix G of this Template.

Operator(s):

Insert Company or Organization Name

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

Insert area of control (if more than one operator at site)

[Repeat as necessary.]

Subcontractor(s):

Insert Company or Organization Name

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

Insert area of control (if more than one operator at site)

[Repeat as necessary.]

Emergency 24-Hour Contact:

Insert Company or Organization Name

Insert Name

Insert Telephone Number

## Stormwater Team

### Instructions

(see CGP Parts 6 and 7.2.2), (OHC000005 Part lll.G.1.l.):

Identify the individuals (by name and position) that you have made part of the project’s stormwater team pursuant to CGP Part 6.1, their individual responsibilities, and which members are responsible for inspections. At a minimum the stormwater team is comprised of individuals who are responsible for the design, installation, maintenance, and/or repair of stormwater controls; the application and storage of treatment chemicals (if applicable); conducting inspections as required in CGP Part 4.1; and taking corrective actions as required in Part 5.

Each member of the stormwater team must have ready access to either an electronic or paper copy of applicable portions of the 2022 CGP and the SWPPP.

Each member of the stormwater team must understand the requirements of the 2022 CGP and their specific responsibilities with respect to those requirements, including the information in Part 6.2.

For projects that receive coverage under the 2022 CGP on or after February 17, 2023, to be considered a qualified person under Part 4.1 to conduct inspections under Part 4, you must, at a minimum, either:

- Have completed the EPA construction inspection course developed for this permit and have passed the exam; or

- Hold a current valid construction inspection certification or license from a program that, at a minimum, covers the following:

  - Principles and practices of erosion and sediment control and pollution prevention practices at construction sites;

  - Proper installation, and maintenance of erosion and sediment controls and pollution prevention practices used at construction sites; and

  - Performance of inspections, including the proper completion of required reports and documentation, consistent with the requirements of Part 4.

- Note that if one of the following topics (e.g., installation and maintenance of pollution prevention practices) is not covered by the non-EPA training program, you may consider supplementing the training with the analogous module of the EPA course (e.g., Module 4) that covers the missing topic.

Include documentation showing completion of trainings in Appendix I of this SWPPP template.

For projects that receive coverage under the 2022 CGP prior to February 17, 2023, any personnel conducting site inspections pursuant to Part 4 on your site must, at a minimum:

- Be knowledgeable in the principles and practice of erosion and sediment controls and pollution prevention,

- Possess the appropriate skills and training in conditions at the construction site that could impact stormwater quality, and

- Possess the appropriate skills and training in the effectiveness of any stormwater controls selected and installed to meet the requirements of this permit.

Stormwater Team

| Name and/or Position, and Contact | Responsibilities | I Have Completed Training Required by CGP Part 6.2 | I Have Read the CGP and Understand the Applicable Requirements |
| --- | --- | --- | --- |
| Insert Name of Responsible Person Insert Position Insert Telephone Number Insert Email | Insert Responsibility | ☐ Yes ☐ No | ☐ Yes Date: Click here to enter a date. |
| Insert Name of Responsible Person Insert Position Insert Telephone Number Insert Email | Insert Responsibility | ☐ Yes ☐ No | ☐ Yes Date: Click here to enter a date. |
| Insert Name of Responsible Person Insert Position Insert Telephone Number Insert Email | Insert Responsibility | ☐ Yes ☐ No | ☐ Yes Date: Click here to enter a date. |

[Insert or delete rows as necessary.]

Stormwater Team Members Who Conduct Inspections Pursuant to CGP Part 4

| Name and/or Position and Contact | Training(s) Received | Date Training(s) Completed | If Training is a Non-EPA Training, Confirm that it Satisfies the Minimum Elements of CGP Part 6.3.b |
| --- | --- | --- | --- |
| Insert Name of Responsible Person Insert Position Insert Telephone Number Insert Email | Insert Title of Training Received | Date: Click here to enter a date. | ☐ Principles and practices of erosion and sediment control and pollution prevention practices at construction sites ☐ Proper installation and maintenance of erosion and sediment controls and pollution prevention practices used at construction sites ☐ Performance of inspections, including the proper completion of required reports and documentation, consistent with the requirements of Part 4 |
| Insert Name of Responsible Person Insert Position Insert Telephone Number Insert Email | Insert Title of Training Received | Date: Click here to enter a date. | ☐ Principles and practices of erosion and sediment control and pollution prevention practices at construction sites ☐ Proper installation and maintenance of erosion and sediment controls and pollution prevention practices used at construction sites ☐ Performance of inspections, including the proper completion of required reports and documentation, consistent with the requirements of Part 4 |
| Insert Name of Responsible Person Insert Position Insert Telephone Number Insert Email | Insert Title of Training Received | Date: Click here to enter a date. | ☐ Principles and practices of erosion and sediment control and pollution prevention practices at construction sites ☐ Proper installation and maintenance of erosion and sediment controls and pollution prevention practices used at construction sites ☐ Performance of inspections, including the proper completion of required reports and documentation, consistent with the requirements of Part 4 |

[Insert or delete rows as necessary.]

# SITE EVALUATION, ASSESSMENT, AND PLANNING

## 2.1	Project/Site Information

### Instructions

(see “Project/Site Information,” Section IV of Appendix H – NOI Form and Instructions):

In this section, compile basic site information that will be helpful when you file your NOI.

Project Name and Address

Project/Site Name: Insert Text Here

Street/Location: Insert Text Here

City: Insert Text Here

State: Insert Text Here

ZIP Code: Insert Text Here

County or Similar Government Division: Insert Text Here

| Project Latitude/Longitude |  |
| --- | --- |
| Latitude: __ __. __ __ __ __º N (decimal degrees) | Longitude: - __ __. __ __ __ __ º W (decimal degrees) |
| Latitude/longitude data source: ☐ Map ☐ GPS ☐ Other (please specify): _______________ |  |
| Horizontal Reference Datum: ☐ NAD 27 ☐ NAD 83 ☐ WGS 84 |  |

| Additional Site Information |  |
| --- | --- |
| Is your site located on Indian country lands, or on a property of religious or cultural significance to an Indian Tribe? | ☐ Yes ☐ No |
| If yes, provide the name of the Indian Tribe associated with the area of Indian country (including the name of Indian reservation if applicable), or if not in Indian country, provide the name of the Indian Tribe associated with the property: Insert Text Here |  |

## 2.2	Discharge Information

### Instructions

(see “Discharge Information,” Section V of Appendix H – NOI Form and Instructions), (OHC000005 Part lll.G.1.i):

In this section, include information relating to your site’s discharge. This information corresponds to the “Discharge Information” section of the NOI form.

List all of the stormwater points of discharge from your site. Identify each point of discharge with a unique 3-digit ID (e.g., 001, 002).

For each unique point of discharge you list, specify the name of the first receiving water that receives stormwater directly from the point of discharge and/or from the MS4 that the point of discharge discharges to. You may have multiple points of discharge that discharge to the same receiving water. For assistance in identifying the receiving water to which you discharge, you may use EPA’s Stormwater Discharge Mapping Tool.

Next, specify whether any waters of the U.S. that you discharge to are listed as “impaired” as defined in Appendix A, and the pollutants causing the impairment. Identify any Total Maximum Daily Loads (TMDL) that have been completed for any of the waters of the U.S. that you discharge to and the pollutants for which there is a TMDL. For more information on impaired waters and TMDLs, including a list of TMDL contacts and links by State, visit https://www.epa.gov/tmdl. For assistance in identifying any impaired waters or applicable TMDLs, you may use EPA’s Stormwater Discharge Mapping Tool.

Finally, indicate whether any receiving water that you discharge to is designated as a Tier 2, Tier 2.5, or Tier 3 water and if so, what the designation is (2, 2.5, or 3). A list of Tier 2, 2.5, and 3 waters located in the areas eligible for coverage under this permit can be found at https://www.epa.gov/npdes/construction-general-permit-resources-tools-and-templates.

Does your project/site discharge stormwater into a Municipal Separate Storm Sewer System (MS4)?

Are there any waters of the U.S. within 50 feet of your project’s earth disturbances?

☐ Yes      ☐ No

☐ Yes     ☐ No

### Instructions

For each point of discharge, provide a point of discharge ID (a unique 3-digit ID, e.g., 001, 002), the name of the first receiving water that receives stormwater directly from the point of discharge and/or from the MS4 that the point of discharge discharges to, and the following receiving water information, if applicable:

| Point of Discharge ID | Name of receiving water that receives stormwater discharge: | Is the receiving water impaired (on the CWA 303(d) list)? | If yes, list the pollutants that are causing the impairment: | Has a TMDL been completed for this receiving waterbody? | If yes, list TMDL Name and ID: | Pollutant(s) for which there is a TMDL: | Is this receiving water designated as a Tier 2, Tier 2.5, or Tier 3 water? | If yes, specify which Tier (2, 2.5, or 3)? |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| [001] | Insert Text Here | ☐ Yes ☐ No |  | ☐ Yes ☐ No |  |  | ☐ Yes ☐ No | [INSERT "Tier 2", "Tier 2.5", or "Tier 3"] |
| [002] | Insert Text Here | ☐ Yes ☐ No |  | ☐ Yes ☐ No |  |  | ☐ Yes ☐ No | [INSERT "Tier 2", "Tier 2.5", or "Tier 3"] |
| [003] | Insert Text Here | ☐ Yes ☐ No |  | ☐ Yes ☐ No |  |  | ☐ Yes ☐ No | [INSERT "Tier 2", "Tier 2.5", or "Tier 3"] |
| [004] | Insert Text Here | ☐ Yes ☐ No |  | ☐ Yes ☐ No |  |  | ☐ Yes ☐ No | [INSERT "Tier 2", "Tier 2.5", or "Tier 3"] |
| [005] | Insert Text Here | ☐ Yes ☐ No |  | ☐ Yes ☐ No |  |  | ☐ Yes ☐ No | [INSERT "Tier 2", "Tier 2.5", or "Tier 3"] |
| [006] | Insert Text Here | ☐ Yes ☐ No |  | ☐ Yes ☐ No |  |  | ☐ Yes ☐ No | [INSERT "Tier 2", "Tier 2.5", or "Tier 3"] |

[Include additional rows or delete as necessary.]

## 2.3	Nature of the Construction Activities

### Instructions

(see CGP Parts 1.2.1.c and 7.2.3), (OHC000005 Part lll.G.1.a-g, k )

Provide a general description of the nature of the construction activities at your site.

Describe the size of the property (in acres or length in miles if a linear construction site), the total area expected to be disturbed by the construction activities (to the nearest quarter acre or quarter mile if a linear construction site), and the maximum area expected to be disturbed at any one time.

A description of any on-site and off-site construction support activity areas covered by this permit;

Indicate the type of construction site, whether there will be certain demolition activities, and whether the predevelopment land use was for agriculture.

Provide a list and description of all pollutant-generating activities (e.g., paving operations; concrete, paint, and stucco washout and waste disposal; solid waste storage and disposal; and dewatering operations) and indicate for each activity the associated pollutants or pollutant constituents (e.g., sediment, fertilizers, pesticides, paints, caulks, sealants, fluorescent light ballasts, contaminated substrates, solvents, fuels) which could be discharged in stormwater from your construction site.

Describe the construction support activities covered by this permit (see Part 1.2.1.c of the permit).

General Description of Project Provide a general description of the nature of your construction activities, including the age or dates of past renovations for structures that are undergoing demolition, and prior land uses:

Insert Text Here. Example: This project involves the construction of (2) warehouse buildings, building 'A' 50,000 s.f., building 'B' 56,250 s.f., parking & loading & related driveway. The area to be disturbed is approximately 4.11 acres. The pre-construct

If you are conducting earth-disturbing activities in response to a public emergency, document the cause of the public emergency (e.g., mud slides, earthquake, extreme flooding conditions, widespread disruption in essential public services), information substantiating its occurrence (e.g., State disaster declaration or similar State or local declaration), and a description of the construction necessary to reestablish affected public services:

Insert Text Here

Business days and hours for the project: Insert Text Here

Description of Soil Types: Insert Text Here

Drainage Patterns: Insert Text Here. Example: The existing site primarily drains from the east to the west towards the detention pond west of the property.

Site Features and Sensitive Areas To Be Protected: Insert Text Here

Type of Construction Site (check all that apply): ☐ Single-Family Residential ☐ Multi-Family Residential ☐ Commercial ☐ Industrial ☐ Institutional ☐ Highway or Road ☐ Utility ☐ Other ____________________________

| Size of Construction Site |  |
| --- | --- |
| Size of Property | Insert Size Of Property (in acres or in miles if a linear construction site) |
| Total Area Expected to be Disturbed by Construction Activities | Insert Total Area Of Construction Disturbances (to the nearest quarter acre or quarter mile if a linear construction site) |
| Maximum Area Expected to be Disturbed at Any One Time | Insert Maximum Area To Be Disturbed At Any One Time (in acres), Including On-site and Off-site Construction Support Areas |
| Pre-Construction Runoff Coefficient | Insert Pre-Construction Coefficient |
| Post-Construction Runoff Coefficient | Insert Post-Construction Coefficient |
| Pre-Construction Impervious Area (SF & %) | Insert SF and Percentage of |
| Post-Construction Impervious Ares (SF & %) | Insert SF and Percentage of |
| [Repeat as necessary for individual project phases.] |  |

| Construction Site Quantities |  |  |  |  |
| --- | --- | --- | --- | --- |
| Construction Seeding, Mulch, &Fertilizer | Insert Quantity | sy |  |
| Winter Seeding and Mulching | Insert Quantity | sy |  |
| Stabilization Matting – Turf Matting | Insert Quantity | sy |  |
| Stabilization Matting – i.e. Flexamat | Insert Quantity | sy |  |
| Perimeter Control: Silt Fence | Insert Quantity | lf |  |
| Perimeter Control: Mulch Berm | Insert Quantity | lf |  |
| Inlet Protection | Insert Quantity | each |  |
| Rock Channel Protection & Outfall Protection ☐ Type C/D w/Filter ☐ Type C/D w/out Filter | Insert Quantity | cy |  |
| Check Dam ☐ Rock ☐ Compost Sock | Insert Quantity | cy |  |
| Temporary Diversion | Height x Width X Length | ft x ft x ft |  |
| Temporary Sediment Trap | Insert Quantity | cy |  |
| Temporary Sediment Basin | Insert Quantity | cy |  |
| Construction Entrance (standard min 18.41cy) | Insert Quantity | each |  |
| Concrete Washout Area | Insert Quantity | each |  |
| Fueling and Maintenance Area | Insert Quantity | each |  |
| Storage and Mixing Area | Insert Quantity | each |  |
| Skimmer | Insert Quantity | each |  |
| Release Structure | Insert Quantity | each |  |
| Alternative Water Quality Unit Specify: | Insert Quantity | each |  |
| Other | Insert Quantity | Insert Unit |  |
| [Repeat as necessary for individual project phases.] |  |  |  |  |

| Site Discharge |  |
| --- | --- |
| Will you be discharging dewatering water from your site? | ☐ Yes ☐ No |
| If yes, will you be discharging dewatering water from a current or former Federal or State remediation site? | ☐ Yes ☐ No |
| Pollutant-Generating Activities List and describe all pollutant-generating activities and indicate for each activity the associated pollutants or pollutant constituents that could be discharged in stormwater from your construction site. Take into account where potential spills and leaks could occur that contribute pollutants to stormwater discharges, and any known hazardous or toxic substances, such as PCBs and asbestos, that will be disturbed during construction. Potential sources of sediment to stormwater runoff: - Clearing and grubbing operations - Grading and site excavation operations - Vehicle tracking - Topsoil stripping and stockpilingLandscaping operations Potential pollutants and sources, other than sediment, to stormwater runoff: - Combined Staging Area—small fueling activities, minor equipment maintenance, sanitary facilities, and hazardous waste storage. - Materials Storage Area—general building materials, solvents, adhesives, paving materials, paints, aggregates, trash, and so on. - Construction Activity—paving, curb/gutter installation, concrete pouring/mortar/stucco, and building construction - Concrete Washout Area |  |

| Pollutant-Generating Activity (e.g., paving operations; concrete, paint, and stucco washout and waste disposal; solid waste storage and disposal; and dewatering operations) | Pollutants or Pollutant Constituents (e.g., sediment, fertilizers, pesticides, paints, caulks, sealants, fluorescent light ballasts, contaminated substrates, solvents, fuels) |
| --- | --- |
| Insert Pollutant-Generating Activity | Insert Pollutant(s) |
| Insert Pollutant-Generating Activity | Insert Pollutant(s) |
| Insert Pollutant-Generating Activity | Insert Pollutant(s) |

[Include additional rows or delete as necessary.]

Construction Support Activities (only provide if applicable)

Describe any construction support activities for the project (e.g., concrete or asphalt batch plants, equipment staging yards, material storage areas, excavated material disposal areas, borrow areas): Insert Description of Construction Support Activity

Contact information for construction support activity: Insert Name Insert Telephone No. Insert Email Insert Address And/Or Latitude/Longitude [Repeat as necessary.]

## 2.4	Sequence and Estimated Dates of Construction Activities & Good Housekeeping Notes

### Instructions

Instructions (see CGP Part 7.2.3), (OHC000005 Part lll.G.1.h), (OHC000005 Part lll.G.2.g.v):

Describe the intended construction sequence and duration of major activities.

For each portion or phase of the construction site, include the following:

  - Commencement and duration of construction activities, including clearing and grubbing, mass grading, demolition activities, site preparation (i.e., excavating, cutting and filling), final grading, and creation of soil and vegetation stockpiles requiring stabilization;

  - Temporary or permanent cessation of construction activities in each portion of the site;

  - Temporary or final stabilization of exposed areas for each portion of the site. The dates for stabilization must reflect the applicable deadlines to which you are subject to in Part 2.2.14; and

  - Removal of temporary stormwater controls and construction equipment or vehicles, and cessation of any construction-related pollutant-generating activities.

The construction sequence must reflect the following requirements:

  - Part 2.1.3 (installation of stormwater controls); and

  - Parts 2.2.14 (stabilization deadlines).

Phase I

| Insert General Discription of Phase |  |
| --- | --- |
| Estimated Start Date of Construction Activities for this Phase | Insert Estimated Date |
| Estimated End Date of Construction Activities for this Phase | Insert Estimated Date |
| Estimated Date(s) of Application of Stabilization Measures for Areas of the Site Required to be Stabilized | Insert Estimated Date [Add additional dates as necessary] |
| Estimated Date(s) when Stormwater Controls will be Removed | Insert Estimated Date [Add additional dates as necessary] |

Phase II

| Insert General Discription of Phase |  |
| --- | --- |
| Estimated Start Date of Construction Activities for this Phase | Insert Estimated Date |
| Estimated End Date of Construction Activities for this Phase | Insert Estimated Date |
| Estimated Date(s) of Application of Stabilization Measures for Areas of the Site Required to be Stabilized | Insert Estimated Date [Add additional dates as necessary] |
| Estimated Date(s) when Stormwater Controls will be Removed | Insert Estimated Date [Add additional dates as necessary] |

[Repeat as needed.]

Construction Activity Sequencing

- Install erosion and sediment control measures before upslope clearing and grading. Installation should include construction entrance, hazardous waste storage area, vehicle refueling area, and concrete wash pit.

- Clear & grub site. Sediment controls will be implemented within 7 days of the start of grubbing activities and continue to function until the upslope area is stabilized with permanent cover. Sediment control devices shall be implemented for all areas remaining disturbed for over 14 days.

- Construct temporary sediment basin/settling pond including outlet structure and skimmer.

- Grading and stripping of the remaining areas of the development site or project area. Complete rough grade site.

- Temporary vegetative stabilization of erosion and sediment control measures.

- Construct sanitary, disturbing trench area only.

- Install storm & water line, placing inlet protection as inlets are constructed.

- Construction of structure. Individual lot construction.

- Grade parking lot, fixing inlet protection as needed, protect existing curb drain.

- Final grading, stabilization, and landscaping.

- Removal of erosion and sediment controls measures.

Permittee is responsible for assuring all post-construction practices meeting plan specifications and intended post-construction conditions have been met before coverage under this permit is terminated.

Good Housekeeping

The following good housekeeping practices will be followed onsite during the construction project:

- An effort will be made to store only enough product required to do the job.

- All materials stored onsite will be stored in a neat, orderly manner in their appropriate containers, an if possible, under a roof or other enclosure.

- Products will be kept in their original containers with the original manufacture’s label.

- Substances will not be mixed with one another unless recommended by the manufacture

- Whenever possible, all of a product will be used up before disposing of the container.

- Manufacturers’ recommendations for proper use and disposal will be followed.

- The site superintended will inspect daily to ensure proper use and disposal of materials onsite.

- All construction shall be stabilized at the end of each day; this includes backfilling of trenches for utility construction & placement of gravel or asphalt for road construction.

## 2.5	Authorized Non-Stormwater Discharges

### Instructions

Instructions (see CGP Parts 1.2.2 and 7.2.5):

Identify all authorized non-stormwater discharges. The authorized non-stormwater discharges identified in Part 1.2.2 of the 2022 CGP include:

- Discharges from emergency fire-fighting activities;

- Fire hydrant flushings;

- Landscape irrigation;

- Waters used to wash vehicles and equipment, provided that there is no discharge of soaps, solvents, or detergents used for such purposes;

- Water used to control dust;

- Potable water including uncontaminated water line flushings;

- External building washdown, provided soaps, solvents and detergents are not used, and external surfaces do not contain hazardous substances as defined in CGP Appendix A (e.g., paint or caulk containing polychlorinated biphenyls (PCBs));

- Pavement wash waters provided spills or leaks of toxic or hazardous materials have not occurred (unless all spilled material has been removed) and detergents are not used. You are prohibited from directing pavement wash waters directly into any receiving water, storm drain inlet, or constructed or natural site drainage features, unless the conveyance is connected to a sediment basin, sediment trap, or similarly effective control;

- Uncontaminated air conditioning or compressor condensate;

- Uncontaminated, non-turbid discharges of ground water or spring water;

- Foundation or footing drains where flows are not contaminated with process materials such as solvents or contaminated ground water; and

- Uncontaminated construction dewatering water discharged in accordance with Part 2.4.

List of Authorized Non-Stormwater Discharges Present at the Site

| Authorized Non-Stormwater Discharge | Will or May Occur at Your Site? |
| --- | --- |
| Discharges from emergency fire-fighting activities | ☐ Yes ☐ No |
| Fire hydrant flushings | ☐ Yes ☐ No |
| Landscape irrigation | ☐ Yes ☐ No |
| Water used to wash vehicles and equipment | ☐ Yes ☐ No |
| Water used to control dust | ☐ Yes ☐ No |
| Potable water including uncontaminated water line flushings | ☐ Yes ☐ No |
| External building washdown (soaps/solvents are not used and external surfaces do not contain hazardous substances) | ☐ Yes ☐ No |
| Pavement wash waters | ☐ Yes ☐ No |
| Uncontaminated air conditioning or compressor condensate | ☐ Yes ☐ No |
| Uncontaminated, non-turbid discharges of ground water or spring water | ☐ Yes ☐ No |
| Foundation or footing drains | ☐ Yes ☐ No |
| Uncontaminated construction dewatering water | ☐ Yes ☐ No |

(Note:  You are required to identify the likely locations of these authorized non-stormwater discharges on your site map. See Section 2.6, below, of this SWPPP Template.)

## 2.6	Site Maps

### Instructions

(see CGP Part 7.2.4), (OHC000005 Part lll.G.1.n):

Attach site maps in Appendix A of the Template. For most projects, a series of site maps is necessary and recommended. The first should show the undeveloped site and its current features. An additional map or maps should be created to show the developed site or, for more complicated sites, show the major phases of development.

These maps must include the following features:

Boundaries of the property and of the locations where construction will occur, including:

  - Locations where earth-disturbing activities will occur, noting any phasing of construction activities and any demolition activities;

  - Approximate slopes before and after major grading activities. Note any areas of steep slopes, as defined in CGP Appendix A;

  - Locations where sediment, soil, or other construction materials will be stockpiled;

  - Locations of any crossings of receiving waters;

  - Designated points where vehicles will exit onto paved roads;

  - Locations of structures and other impervious surfaces upon completion of construction; and

  - Locations of on-site and off-site construction support activity areas covered by the permit (see CGP Part 1.2.1.c).

Locations of any receiving waters, including wetlands, within your site and all receiving waters within one mile downstream of the site’s discharge point(s). Indicate which receiving waters are listed as impaired, and which are identified by your State, Tribe, or EPA as Tier 2, Tier 2.5, or Tier 3 waters.

Any areas of Federally-listed critical habitat for endangered or threatened species within the action area of the site as defined in CGP Appendix A (Helpful resources: CGP Appendix D and www.epa.gov/npdes/construction-general-permit-cgp-threatened-and-endangered-species-eligibility).

Type and extent of pre-construction cover on the site (e.g., vegetative cover, forest, pasture, pavement, structures).

Drainage pattern(s) of stormwater and authorized non-stormwater before and after major grading activities.

Stormwater and authorized non-stormwater discharge locations, including:

  - Locations where stormwater and/or authorized non-stormwater will be discharged to storm drain inlets, including a notation of whether the inlet conveys stormwater to a sediment basin, sediment trap, or similarly effective control; and

  - Locations where stormwater or allowable non-stormwater will be discharged directly to receiving waters, including wetlands (i.e., not via a storm drain inlet).

  - Locations where turbidity benchmark monitoring will take place to comply with Part 3.3, if applicable to your site.

Locations of all potential pollutant-generating activities identified in Part 7.2.3g (note: you should have those identified in Section 2.3 (Nature of the Construction Activities) in this SWPPP Template).

Designated areas where construction wastes that are covered by the exception in Part 2.3.3e.ii (i.e., they are not pollutant-generating) will be stored.

Locations of stormwater controls, including natural buffer areas and any shared controls utilized to comply with the permit.

Locations where polymers, flocculants, or other treatment chemicals will be used and stored.

See Appendix A for Site Maps and SWPPP Details

## 2.7	General Land Conservation Notes

- No disturbed area will be denuded for more than 30 days if it is to remain dormant for more than 45 days unless authorized by the state governing jurisdiction's inspector. permanent or temporary soil stabilization shall be applied to disturbed areas within 14 days after final grade is reached on any portion of the site.

- All structural erosion and sediment control practices shall be placed prior to or as the first step in grading for all sites.

- All storm sewer, sanitary sewer, water main and service trenches shall be mulched and seeded within 14 days after back fill if installation is through stabilized areas. no more than 500 feet of trench will be open at any one time.

- Electric power, telephone, catv and gas supply trenches shall be compacted seeded and mulched within 14 days after back fill, if installation is through stabilized areas.

- All temporary diversions, sediment basin embankments and earth stockpiles shall be seeded and mulched for temporary vegetative cover within 7 days after grading. Straw, hay mulch or equivalent is required.

- Any disturbed area not stabilized with seeding, sodding, paving or built upon by November 1st, or areas disturbed after that date, shall be mulched immediately with hay or straw at the rate of 2 tons per acre and over-seeded by April 15th.

- Contractor shall implement best management practices as required by the SWPPP. Additional best management practices shall be implemented as dictated by conditions and grade changes to the site at no additional cost to owner throughout all phases of construction.

# SECTION 3: DOCUMENTATION OF COMPLIANCE WITH OTHER FEDERAL REQUIREMENTS

## 3.1	Endangered Species Protection

### Instructions

(see CGP Parts 1.1.5, 7.2.9.a, Appendix D, and the “Endangered Species Protection” section of the Appendix H – NOI Form and Instructions as well as resources available at www.epa.gov/npdes/construction-general-permit-cgp-threatened-and-endangered-species-eligibility):

- Using the instructions in Appendix D of the permit, determine which criterion listed below (A-F) applies with respect to the protection of endangered species. To make this determination, you must use information from BOTH the National Marine Fisheries Service (NMFS) and U.S. Fish and Wildlife Service (USFWS). Both the NMFS and USFWS maintain lists of Endangered Species Act-listed (ESA-listed) species and designated critical habitat. Operators must consult both when determining their eligibility.

Check only 1 box, include the required information, and provide a sound basis for supporting the criterion selected. Select the most conservative criterion that applies.

Include documentation supporting your determination of eligibility required in the Endangered Species Protection section of the NOI in NeT or the ESA worksheet in CGP Appendix D.

Eligibility Criterion

Following the process outlined in Appendix D, under which criterion are you eligible for coverage under this permit?

A☐	B ☐	C ☐	D ☐	E ☐	F ☐ 	N/A ☐

☐ Criterion A: No ESA-listed species and/or designated critical habitat present in action area. Using the process outlined in Appendix D of the CGP, you certify that ESA-listed species and designated critical habitat(s) under the jurisdiction of the USFWS or NMFS are not likely to occur in your site’s “action area” as defined in Appendix A of the CGP. Please Note: NMFS’ jurisdiction includes ESA-listed marine and estuarine species that spawn in inland rivers. ☐ Check to confirm you have provided documentation in your SWPPP as required by CGP Appendix D (Note: reliance on State resources is not acceptable; see CGP Appendix D). Documentation: Insert Text Here

☐ Criterion B: Eligibility requirements met by another operator under the 2022 CGP. The construction site’s discharges and discharge-related activities were already addressed in another operator’s valid certification of eligibility for your “action area” under eligibility Criterion A, C, D, E, or F of the 2022 CGP and you have confirmed that no additional ESA-listed species and/or designated critical habitat under the jurisdiction of USFWS and/or NMFS not considered in the that certification may be present or located in the “action area.” To certify your eligibility under this criterion, there must be no lapse of NPDES permit coverage in the other CGP operator’s certification. By certifying eligibility under this criterion, you agree to comply with any conditions upon which the other CGP operator's certification was based. You must include in your NOI the NPDES ID from the other 2022 CGP operator’s notification of authorization under this permit and list any measures that you must comply with. If your certification is based on another 2022 CGP operator’s certification under criterion C, you must provide EPA with the relevant supporting information required of existing dischargers in Criterion C. ☐ Check to confirm you have provided documentation in your SWPPP as required by CGP Appendix D. Documentation: Insert Text Here

☐ Criterion C: Discharges not likely to result in any short- or long-term adverse effects to ESA-listed species and/or designated critical habitat. ESA-listed species and/or designated critical habitat(s) under the jurisdiction of the USFWS and/or NMFS are likely to occur in or near your site’s “action area,” and you certify to EPA that your site’s discharges and discharge-related activities are not likely to result in any short- or long-term adverse effects to ESA-listed threatened or endangered species and/or designated critical habitat. This certification may include consideration of any stormwater controls and/or management practices you will adopt to ensure that your discharges and discharge-related activities are not likely to result in any short- or long-term adverse effects to ESA-listed species and/or designated critical habitat. To certify your eligibility under this criterion, indicate 1) the ESA-listed species and/or designated habitat located in your “action area” using the process outlined in Appendix D of this permit; 2) the distance between the site and the listed species and/or designated critical habitat in the action area (in miles); and 3) a rationale describing specifically how short- or long-term adverse effects to ESA-listed species will be avoided from the discharges and discharge-related activities. (Note: You must include a copy of your site map from your SWPPP showing the upland and in-water extent of your “action area” with your NOI.) ☐ Check to confirm you have provided documentation in your SWPPP as required by CGP Appendix D. Documentation: Insert Text Here

☐ Criterion D: Coordination with USFWS and/or NMFS has successfully concluded. Coordination between you and the USFWS and/or NMFS has concluded. The coordination must have addressed the effects of your site’s discharges and discharge-related activities on ESA-listed species and/or designated critical habitat under the jurisdiction of USFWS and/or NMFS, and resulted in a written confirmation from USFWS and/or NMFS that the effects of your site’s discharges and discharge-related activities are not likely to result in any short- or long-term adverse effects. By certifying eligibility under this criterion, you agree to comply with any conditions you must meet for your site’s discharges and discharge-related activities to not likely result in any short- or long-term adverse effects. You must include copies of the correspondence with the participating agencies in your SWPPP and this NOI. ☐ Check to confirm you have provided documentation in your SWPPP as required by CGP Appendix D. Documentation: Insert Text Here

☐ Criterion E: ESA Section 7 consultation has successfully concluded. Consultation between a Federal agency and the USFWS and/or NMFS under section 7 of the ESA has concluded. Consultations can be either formal or informal, and would have occurred only as a result of a separate Federal action (e.g., during application for an individual wastewater discharge permit or the issuance of a wetlands dredge and fill permit), and the consultation must have addressed the effects of your construction activity’s discharges and discharge-related activities on all ESA-listed threatened or endangered species and all designated critical habitat under the jurisdiction of each Service, as appropriate, in your action area. The result of this consultation must be either: - A biological opinion currently in effect that determined that the action in question (taking into account the effects of your facility’s discharges and discharge-related activities) is likely to adversely affect, but is not likely to jeopardize the continued existence of listed species or result in the destruction or adverse modification of critical habitat. The biological opinion must have included the effects of your facility’s discharges and discharge-related activities on all the listed species and designated critical habitat in your action area under the jurisdiction of each Service, as appropriate. To be eligible under (i), any reasonable and prudent measures specified in the incidental take statement must be implemented; - Written concurrence (e.g., letter of concurrence) from the applicable Service(s) with a determination that your facility’s discharges and discharge-related activities are not likely to adversely affect ESA-listed species and/or designated critical habitat. The concurrence letter must have included the effects of your facility’s discharges and discharge-related activities on all the ESA-listed species and/or designated critical habitat on your species list(s) acquired from USFWS and/or NMFS as part of this worksheet. The consultation does not warrant reinitiation under 50 CFR §402.16; or, if reinitiation of consultation is required (e.g., due to a new species listing, critical habitat designation, or new information), the Federal action agency has reinitiated the consultation and the result of the consultation is consistent with the statements above. (Note: you must include any reinitiation documentation from the Services or consulting Federal agency with your NOI.) – ☐ Check to confirm you have provided documentation in your SWPPP as required by CGP Appendix D. Documentation: Insert Text Here

☐ Criterion F: Issuance of section 10 permit. Potential take is authorized through the issuance of a permit under section 10 of the ESA by the USFWS and/or NMFS, and this authorization addresses the effects of the site’s discharges and discharge-related activities on ESA-listed species and designated critical habitat. You must include copies of the correspondence between yourself and the participating agencies in your SWPPP and your NOI. ☐ Check to confirm you have provided documentation in your SWPPP as required by CGP Appendix D. Documentation: Insert Text Here

## 3.2	Historic Property Screening Process

### Instructions

(see CGP Part 1.1.6, 7.2.9.b, Appendix E, and the “Historic Preservation” section of the Appendix H – NOI Form and Instructions):

- Follow the screening process in Appendix E of the permit to determine whether your installation of subsurface earth-disturbing stormwater controls will have an effect on historic properties.

Include documentation supporting your determination of eligibility.

To contact your applicable State historic preservation office, information is available at https://ncshpo.org/directory/

To contact your applicable Tribal historic preservation office, information is available at https://grantsdev.cr.nps.gov/THPO_Review/index.cfm

Appendix E, Step 1

Do you plan on installing any stormwater controls that require subsurface earth disturbance, including, but not limited to, any of the following stormwater controls at your site?  Check all that apply below, and proceed to Appendix E, Step 2.

☐ Dike

☐ Berm

☐ Catch Basin

☐ Pond

☐ Constructed Site Drainage Feature (e.g., ditch, trench, perimeter drain, swale, etc.)

☐ Culvert

☐ Channel

☐ Other type of ground-disturbing stormwater control:  Insert Specific Type of Stormwater Control

(Note:  If you will not be installing any subsurface earth-disturbing stormwater controls, no further documentation is required for Section 3.2 of the Template.)

Appendix E, Step 2

If you answered yes in Step 1, have prior professional cultural resource surveys or other evaluations determined that historic properties do not exist, or have prior disturbances at the site have precluded the existence of historic properties? ☐ YES   ☐ NO

- If yes, no further documentation is required for Section 3.2 of the Template and you may provide the prior documentation in your SWPPP.

- Insert references and information sources relied upon to determine that prior to your project, no historic properties exist at your site based on available information, including information that may be provided by your applicable SHPO, THPO, or other Tribal representative or references and information sources relied upon to determine that prior earth disturbances may have eliminated he possibility that historic properties exist on your site.

- If no, proceed to Appendix E, Step 3.

Appendix E, Step 3

If you answered no in Step 2, have you determined that your installation of subsurface earth-disturbing stormwater controls will have no effect on historic properties? ☐ YES   ☐ NO

- If yes, provide documentation of the basis for your determination. Insert references to documents, studies, or other sources relied upon

- If no, proceed to Appendix E, Step 4.

Appendix E, Steps 4 and 5

If you answered no in Step 3, did the State Historic Preservation Officer (SHPO), Tribal Historic Preservation Office (THPO), or other Tribal representative (whichever applies) respond to you within 15 calendar days to indicate their views as to the likelihood that historic properties are potentially present on your site and may be impacted by the installation of stormwater controls that require subsurface earth disturbance? ☐ YES   ☐ NO

- If yes, describe the nature of their response:

☐ Written indication that no historic properties will be affected by the installation of stormwater controls. Insert copies of letters, emails, or other communication between you and the applicable SHPO, THPO, or other Tribal representative

☐  Written indication that adverse effects to historic properties from the installation of stormwater controls can be mitigated by agreed upon actions. Insert copies of letters, emails, or other communication between you and the applicable SHPO, THPO, or other Tribal representative

☐  No agreement has been reached regarding measures to mitigate effects to historic properties from the installation of stormwater controls. Provide a description of any significant remaining disagreements regarding mitigation measures and insert copies of letters, emails, or other communication between you and the applicable SHPO, THPO, or other Tribal representative

☐  Other:  Insert copies of letters, emails, or other communication between you and the applicable SHPO, THPO, or other Tribal representative

- If no, no further documentation is required for Section 3.2 of the Template.

## 3.3	Safe Drinking Water Act Underground Injection Control Requirements

### Instructions

(see CGP Part 7.2.9.c):

If you will use any of the identified controls in this section, document any contact you have had with the applicable State agency or EPA Regional Office responsible for implementing the requirements for underground injection wells in the Safe Drinking Water Act and EPA’s implementing regulations at 40 CFR Parts 144-147.

For State UIC program contacts, refer to the following EPA website: https://www.epa.gov/uic.

Do you plan to install any of the following controls?  Check all that apply below.

☐  Infiltration trenches (if stormwater is directed to any bored, drilled, driven shaft or dug hole that is deeper than its widest surface dimension, or has a subsurface fluid distribution system)

☐  Commercially manufactured pre-cast or pre-built proprietary subsurface detention vaults, chambers, or other devices designed to capture and infiltrate stormwater flow

☐  Drywells, seepage pits, or improved sinkholes (if stormwater is directed to any bored, drilled, driven shaft or dug hole that is deeper than its widest surface dimension, or has a subsurface fluid distribution system)

If yes, insert copies of letters, emails, or other communication between you and the State agency or EPA regional office.

# SECTION 4: EROSION AND SEDIMENT CONTROLS AND DEWATERING PRACTICES

### Instructions

(See CGP Parts 2.2 and 7.2.6), (OHC000005 Part lll.G.2):

Describe the erosion and sediment controls that will be implemented at your site to meet the requirements of CGP Part 2.2.

Describe any applicable stormwater control design specifications (including references to any manufacturer specifications and/or erosion and sediment control manuals/ordinances relied upon).

Describe any routine stormwater control maintenance specifications.

Describe the projected schedule for stormwater control installation/implementation.

## 4.1	Natural Buffers or Equivalent Sediment Controls

### Instructions

(see CGP Parts 2.2.1 and 7.2.6.b.i, and Appendix F), (OHC000005 Part lll.G.2.a):

- This section only applies to you if discharge to a receiving water is located within 50 feet of your site’s earth disturbances. If this is the case, consult CGP Part 2.2.1 and Appendix F for information on how to comply with the buffer requirements.

Describe the compliance alternative (CGP Part 2.2.1.a.i, ii, or iii) that you will implement to meet the buffer requirements, and include any required documentation supporting the alternative selected. For alternative 3, also include why it is infeasible for you to provide and maintain an undisturbed natural buffer of any size. For “linear construction sites” where it is infeasible to implement alternative 1, 2, or 3, also include a description of any buffer width retained and/or supplemental erosion and sediment controls installed. The compliance alternative selected must be maintained throughout the duration of permit coverage. However, if you select a different compliance alternative during your period of permit coverage, you must modify your SWPPP to reflect this change.

If you qualify for one of the exceptions in CGP Part 2.2.1.b, include documentation related to your qualification for such exceptions.

General Notes for Natural Buffers or Equivalent Sediment Controls

- All erosion and sedimentation control shall be performed according to: SWPPP and detail plans; according to the latest Ohio EPA Authorization for Construction Activity Under the “National Pollutants Discharge Elimination System” (NPDES); any and all required permits, reports, and related documents. See Ohio EPA Permit No. OHC000005 for SWPP rules and regulations. All contractors and subcontractors must become familiar with all of the above.

- Contractor shall minimize clearing and disturbance to the environment to the maximum extent possible or as required by the general permit. Every effort shall be made to preserve the natural riparian setback adjacent to streams or other surface water bodies.

- There will be no use of any structural sediment controls in a stream during this project.

#### Buffer Compliance Alternatives

Are there any receiving waters within 50 feet of your project’s earth disturbances? ☐ YES   ☐ NO

(Note:  If no, no further documentation is required for Section 4.1 in the SWPPP Template. Continue to Section 4.2.)

Check the compliance alternative that you have chosen:

☐  (i) I will provide and maintain a 50-foot undisturbed natural buffer.

(Note 1:  You must show the 50-foot boundary line of the natural buffer on your site map.)

(Note 2:  You must show on your site map how all discharges from your construction disturbances through the natural buffer area will first be treated by the site’s erosion and sediment controls. Also, show on the site map any velocity dissipation devices used to prevent erosion within the natural buffer area.)

☐  (ii) I will provide and maintain an undisturbed natural buffer that is less than 50 feet and is supplemented by additional erosion and sediment controls that achieve, in combination, the sediment load reduction equivalent to a 50-foot undisturbed natural buffer.

(Note 1:  You must show the boundary line of the natural buffer on your site map.)

(Note 2:  You must show on your site map how all discharges from your construction disturbances through the natural buffer area will first be treated by the site’s erosion and sediment controls. Also, show on the site map any velocity dissipation devices used to prevent erosion within the natural buffer area.)

- Insert width of natural buffer to be retained

- Insert either of the following:

(1) The estimated sediment removal from a 50-foot buffer using applicable tables in Appendix F, Attachment 1. Include information about the buffer vegetation and soil type that predominate at your site

OR

(2) If you conducted a site-specific calculation for the estimated sediment removal of a 50-foot buffer, provide the specific removal efficiency, and information you relied upon to make your site-specific calculation

- Insert description of additional erosion and sediment controls to be used in combination with natural buffer area

- Insert the following information:

- (1) Specify the model or other tool used to estimate sediment load reductions from the combination of the buffer area and additional erosion and sediment controls installed at your site, and

- (2) Include the results of calculations showing that the combination of your buffer area and the additional erosion and sediment controls installed at your site will meet or exceed the sediment removal efficiency of a 50-foot buffer

☐ (iii) It is infeasible to provide and maintain an undisturbed natural buffer of any size, therefore I will implement erosion and sediment controls that achieve the sediment load reduction equivalent to a 50-foot undisturbed natural buffer.

- Insert rationale for concluding that it is infeasible to provide and maintain a natural buffer of any size

- Insert either one of the following:

(1) The estimated sediment removal from a 50-foot buffer using applicable tables in Appendix F, Attachment 1. Include information about the buffer vegetation and soil type that predominate at your site

OR

(2) If you conducted a site-specific calculation for the estimated sediment removal of a 50-foot buffer, provide the specific removal efficiency, and information you relied upon to make your site-specific calculation

- Insert description of additional erosion and sediment controls to be used in combination with natural buffer area

- Insert the following information:

  - (1) Specify the model or other tool used to estimate sediment load reductions from the combination of the buffer area and additional erosion and sediment controls installed at your site, and

  - (2) Include the results of calculations showing that the combination of your buffer area and the additional erosion and sediment controls installed at your site will meet or exceed the sediment removal efficiency of a 50-foot buffer

☐ I qualify for one of the exceptions in Part 2.2.1.b. (If you have checked this box, provide information on the applicable buffer exception that applies, below.)

#### Buffer Exceptions

Which of the following exceptions to the buffer requirements applies to your site?

☐ There is no discharge of stormwater to waters of the U.S. through the area between the disturbed portions of the site and any waters of the U.S. located within 50 feet of your site .

(Note:  If this exception applies, no further documentation is required for Section 4.1 of the Template.)

☐  No natural buffer exists due to preexisting development disturbances (e.g., structures, impervious surfaces) that occurred prior to the initiation of planning for this project.

(Note 1:  If this exception applies, no further documentation is required for Section 4.1 of the Template.)

(Note 2:  Where some natural buffer exists but portions of the area within 50 feet of the surface water are occupied by preexisting development disturbances, you must still comply with the one of the CGP Part 2.2.1.a compliance alternatives.)

☐  For “linear construction sites” (defined in Appendix A), site constraints (e.g., limited right-of-way) make it infeasible to meet any of the CGP Part 2.2.1.a compliance alternatives, provided that, to the extent feasible, you limit disturbances within 50 feet of the receiving water. Include documentation here of the following: (1) why it is infeasible for you to meet one of the buffer compliance alternatives, and (2) buffer width retained and/or supplemental erosion and sediment controls to treat discharges to the surface water

☐  The project qualifies as “small residential lot” construction (defined in Appendix A as “a lot being developed for residential purposes that will disturb less than 1 acre of land, but is part of a larger residential project that will ultimately disturb greater than or equal to 1 acre”) (see Appendix F, Part F.3.2).

☐   For Alternative 1:

- Insert width of natural buffer to be retained

- Insert applicable requirements based on Table F-1

- Insert description of how you will comply with these requirements

☐   For Alternative 2:

- Insert (1) the assigned risk level based on Appendix F Applicable Table F-2 through F-6 and (2) the predominant soil type and average slope at your site

- Insert applicable requirements based on Appendix F, Table F-7

- Insert description of how you will comply with these requirements

(Note 1:  If you alternatively choose to comply with any of the options that are available to other sites in Part 2.2.1.a and F.2.1 of this Appendix, then additional documentation may be needed.)

☐  Buffer disturbances are authorized under a CWA Section 404 permit. Insert description of any earth disturbances that will occur within the buffer area

(Note 1:  If this exception applies, no further documentation is required for Section 4.1 of the Template.)

(Note 2:  This exception only applies to the limits of disturbance authorized under the Section 404 permit and does not apply to any disturbances within 50 feet of a receiving water that are adjacent to the disturbances authorized under Section 404 and that are covered by this permit.)

☐  Buffer disturbances will occur for the construction of a water-dependent structure or water access area (e.g., pier, boat ramp, and trail). Insert description of any earth disturbances that will occur within the buffer area

(Note:  If this exception applies, no further documentation is required for Section 4.1 of the Template.)

## 4.2	Site Stabilization

### Instructions

(see CGP Parts 2.2.14 and 7.2.6.b.vii) (OHC000005 Part lll.G.2.b.i.):

- The CGP requires you to immediately initiate stabilization when work in an area of your site has permanently or temporarily stopped, and to complete certain stabilization activities within prescribed deadlines. Construction projects disturbing more than 5 acres at any one time have a different deadline than projects disturbing 5 acres or less at any one time. See CGP Part 2.2.14.a. Construction projects in arid, semi-arid, and drought-stricken areas during the seasonally dry period and projects discharging to a sediment- or nutrient-impaired water or a Tier 2, 2.5, or 3 water have different stabilization deadlines. See CGP Part 2.2.14.b. For your SWPPP, you must include the following:

Describe the specific vegetative and/or non-vegetative practices that will be used to stabilize exposed soils where construction activities have temporarily or permanently ceased. Avoid using impervious surfaces for stabilization whenever possible.

The stabilization deadline(s) that will be met in accordance with Part 2.2.14.a and 2.2.14.b.

Once you begin construction, consider using the Grading/Stabilization Activities log in Appendix H of the Template to document your compliance with the stabilization requirements in CGP Part 2.2.14.

Total Amount of Land Disturbance Occurring at Any One Time

☐  Five Acres or less

☐  More than Five Acres

#### Use this template box if you are not located in an arid, semi-arid, or drought-stricken area and are not discharging to a sediment- or nutrient-impaired water or Tier 2, Tier 2.5, or Tier 3 water.

| Insert name of site stabilization practice |  |
| --- | --- |
| ☐ Vegetative ☐ Non-Vegetative ☐ Temporary ☐ Permanent |  |
| Description: - Insert description of stabilization practice to be installed - Note how design will meet requirements of Part 2.2.14.a |  |
| Installation | Insert approximate date of installation |
| Completion | Insert approximate completion date |
| Maintenance Requirements | Insert maintenance requirements for the stabilization practice |
| Design Specifications | Include copies of design specifications here |

| Example: Temporary Soil Stabilization |  |
| --- | --- |
| ☐ Vegetative ☐ Non-Vegetative ☒ Temporary ☐ Permanent |  |
| Description: Temporary soil stabilization of disturbed areas by means of temporary vegetation, mulching, geotextiles, sod, preservation of existing vegetation, and other approved techniques are to be applied as follows: - Within two (2) days of any area within 50 feet of a stream not at final grade remaining dormant for over fourteen (14) days. - Within seven (7) days of any area that will be dormant for more than fourteen (14) days but less than a year. - For residential subdivisions, disturbed areas must be stabilized at least seven (7) days prior to transfer of permit coverage for individual lots. |  |
| Installation | Insert approximate date of installation |
| Completion | Insert approximate completion date |
| Maintenance Requirements | Inspect temporary seeding after half inch rain events and during times of drought. Apply repair seeding and water as needed. Use erosion control matting as needed in swales and slopes. |
| Design Specifications | Include copies of design specifications here |

| Example: Permanent Soil Stabilization |  |
| --- | --- |
| ☐ Vegetative ☐ Non-Vegetative ☐ Temporary ☒ Permanent |  |
| Description: Permanent soil stabilization of disturbed areas by means of vegetation, landscape type mulching, matting, sod, rip rap, and other approved landscaping techniques to be applied as follows: - Within seven (7) days of any area that will be dormant for one (1) year or more. - Within two (2) days of any area within 50 feet of a stream at final grade - Within seven (7) days for any other area at final grade. |  |
| Installation | Insert approximate date of installation |
| Completion | Insert approximate completion date |
| Maintenance Requirements | Inspect temporary seeding after half inch rain events and during times of drought. Apply repair seeding and water as needed. Use erosion control matting as needed in swales and slopes. |
| Design Specifications | Include copies of design specifications here |

| Example: Temporary Seeding, Mulching and Fertilizer Specifications |  |
| --- | --- |
| ☐ Vegetative ☐ Non-Vegetative ☒ Temporary ☐ Permanent |  |
| Description: Install on topsoil mounds and in diversion swales once they reach rough grade. Refer to erosion control detail sheet for details. - Seeding: annual ryegrass at 2.02#/1000 s.f. - Mulching: straw matting shall be unrotted small grain straw applied at a rate of two (2) ton/acre, or 80-100 pounds per 1,000 s.f. Mulch materials shall be relatively free of all kinds of weeds and shall be free of prohibitive noxious weeds. Mulch shall be spread uniformly by hand or mechanical means. From November 01 thru March 15 increase the rate of straw mulch to three (3) ton/acre. The straw mulch is to be tacked into placed by a disk with blades set nearly straight. - Fertilizer: apply fertilizer at half the rate of permanent application and as per state DOT specifications. If project conditions prevent fertilizing the soil, then this item may be waived. Prior to seeding, ground agricultural limestone and 10-10-10 fertilizer alternatively can be applied at a sufficient rate to each acre to be stabilized. - Once areas receive topsoil and are to remain dormant for at least 14 days. |  |
| Installation | Insert approximate date of installation |
| Completion | Insert approximate completion date |
| Maintenance Requirements | Inspect temporary seeding after half-inch rain events and during times of drought. Apply repair seeding and water as needed. Use erosion control matting as needed in swales and slopes. |
| Design Specifications | Include copies of design specifications here |

| Example: Permanent Seeding, Mulching and Fertilizer Specifications |  |
| --- | --- |
| ☐ Vegetative ☐ Non-Vegetative ☐ Temporary ☒ Permanent |  |
| Description: Install as areas reach final grade and topsoil is placed and weather permits. Refer to erosion control detail sheet for details. Disturbed portions of the site where construction activities permanently cease shall be stabilized with permanent seed no later than 14 days after the last construction activity. The permanent seed mix shall correspond to the seed mixture as specified on the erosion control detail sheets or DOT standard specifications. Alternatively, the seeded area may be seeded then covered with jute matting, sod placed instead of seed and mulch, or seed and mulch may be applied by hydro seeding. - Once areas receive final topsoil and are to remain dormant as weather permits |  |
| Installation | Insert approximate date of installation |
| Completion | Insert approximate completion date |
| Maintenance Requirements | Inspect permanent seeding and mulch after half inch rain events and during times of drought and one year after project closeout. Apply repair seeding and mulch and water as needed. Use erosion control matting as needed in swales and slopes. |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for additional stabilization practices.]

#### Use this template box if you are located in an arid, semi-arid, or drought-stricken area.

| Insert name of site stabilization practice |  |
| --- | --- |
| ☐ Vegetative ☐ Non-Vegetative ☐ Temporary ☐ Permanent |  |
| Description: - Insert description of stabilization practice to be installed - Note how design will meet requirements of Part 2.2.14.b |  |
| Dry Period | - Beginning month of seasonally dry period: Insert approximate date - Ending month of seasonally dry period: Insert approximate date - Site conditions during this period: Describe your site conditions during this period |
| Installation and completion schedule | Describe the schedule you will follow for initiating and completing vegetative stabilization - Approximate installation date: Insert approximate date - Approximate completion date: Insert approximate date |
| Maintenance Requirements | Insert maintenance requirements for the stabilization practice |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for additional stabilization practices.]

#### Use this template box if you are discharging to a sediment- or nutrient-impaired water or to a water that is identified by your State, Tribe, or EPA as Tier 2, Tier 2.5, or Tier 3 for antidegradation purposes.

| Insert name of site stabilization practice |  |
| --- | --- |
| ☐ Vegetative ☐ Non-Vegetative ☐ Temporary ☐ Permanent |  |
| Description: - Insert description of stabilization practice to be installed - Note how design will meet requirements of Part 2.2.14.b.iii |  |
| Installation | Insert approximate date of installation |
| Completion | (Must be completed as soon as practicable, but no later than seven calendar days after stabilization has been initiated) Insert approximate completion date |
| Maintenance Requirements | Insert maintenance requirements for the stabilization practice |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for additional stabilization practices.]

#### Use this template box if unforeseen circumstances have delayed the initiation and/or completion of vegetative stabilization.

Note:  You will not be able to include this information in your initial SWPPP. If you are affected by circumstances such as those described in CGP Part 2.2.14.b.ii, you will need to modify your SWPPP to include this information.

| Insert name of site stabilization practice |  |
| --- | --- |
| ☐ Vegetative ☐ Non-Vegetative ☐ Temporary ☐ Permanent |  |
| Description: - Insert description of stabilization practice to be installed - Note how design will meet requirements of Part 2.2.14.b.ii |  |
| Justification | Insert description of circumstances that prevent you from meeting the deadlines required in CGP CGP Parts 2.2.14.a |
| Installation and completion schedule | Vegetative Measures: Describe the schedule you will follow for initiating and completing vegetative stabilization - Approximate installation date: Insert approximate date - Approximate completion date: Insert the approximate date |
|  | Non-Vegetative Measures: (Must be completed within 14 days of the cessation of construction if disturbing 5 acres or less; within 7 days if disturbing more than 5 acres) - Approximate installation date: Insert the approximate date - Approximate completion date: Insert the approximate date |
| Maintenance Requirements | Insert maintenance requirements for the stabilization practice |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for additional stabilization practices.]

## 4.3 Stormwater Conveyance Channels

### Instructions

(see CGP Parts 2.2.3 and 7.2.6.b.ii) (OHC000005 Part lll.G.2.b.ii.)

Describe sediment controls that will be used (e.g., silt fences, filter berms, compost filter socks, gravel barriers, temporary diversion dikes) to meet the Part 2.2.3 requirement to “install sediment controls along any perimeter areas of the site that are downslope from any exposed soil or other disturbed areas.”

For linear projects (as defined in Appendix A), where you have determined that the use of perimeter controls in portions of the site is infeasible (e.g. due to a limited or restricted right-of-way), document other practices that you will implement to minimize pollutant discharges to perimeter areas of the site.

General

- Insert general description of how you will comply with CGP.

- Example: All channels and outfalls must be stabilized and have measures to prevent erosive flows.

Specific Conveyance Channel Controls

| Example: Compost Sock Check Dam |  |  |
| --- | --- | --- |
| Description: Compost sock check dams shall be used in areas that drain 5 acres or less. |  |  |
| Installation | Insert approximate date of installation |  |
| Maintenance Requirements |  | Inspect weekly and after every half inch rain event. Sediment shall be removed from behind check dam once it accumulates to one-half the original height of the check dam. |
| Timing | Install as catch basins are installed and tops are placed. Once the contributing drainage area has been properly stabilized, all filter material and collected sediment shall be removed and properly disposed. |  |
| Location and Design | Refer to erosion control detail sheet and site map. |  |
| Design Specifications | Include copies of design specifications here |  |

| Example: Rock Outlet Protection |  |
| --- | --- |
| Description: A rock or riprap apron typically needed at the outlet of storm drains, culverts, or open channels. Rock Outlet Protection provides an erosion resistant transition area where concentrated or high velocity flows enters less modified channels or natural streams. |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Inspect weekly and after every half inch rain event. Missing riprap should be replaced as soon as possible. Protect the outlet protection from damage by equipment and traffic. Remove sediment and debris that have accumulated. |
| Timing | Install when outlets are set and stabilized. |
| Location and Design | Refer to erosion control detail sheet and site map. This practice applies where discharge velocities from channels, storm drains or culverts are high enough to erode receiving streams or areas. Suggested areas of application are: outfalls of stormwater detention facilities or sediment traps or basins, constructed channel outlets, culvert outlets. This practice is not intended for use on slopes greater than 10% or at the top of cut or fill slopes. Caution should be used when design flows exceed 100 cubic feet per second (cfs) from a 10-yr.-frequency storm. |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for individual track-out controls.]

## 4.4	Minimize Steep Slope Disturbances

### Instructions

(see CGP Parts 2.2.7 and 7.2.6) (OHC000005 Part lll.G.2.b.ii.)

Describe how you will minimize the disturbance to steep slopes (as defined by CGP Appendix A).

Describe controls (e.g., erosion control blankets, tackifiers), including design, installation and maintenance specifications, that will be implemented to minimize sediment discharges from slope disturbances.

General

- Insert general description of how you will comply with CGP.

- Example: Slopes shall be left in a roughened condition during the grading phase to reduce runoff velocities and erosion. All slopes 3:1 or greater than 3:1 shall be fertilized, seeded, and curlex blankets by American Excelsior Company, North American Green, Inc., or an approved equal as specified in the plans shall be installed on the slopes.

Specific Steep Slope Controls

| Insert name of steep slope control to be installed |  |
| --- | --- |
| Description: Insert description of steep slope control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the steep slope control |
| Design Specifications | Include copies of design specifications here |

| Example: Geotextile Erosion Control Blanket |  |
| --- | --- |
| Description: Geotextile erosion control blankets will be used to provide stabilization for the slopes in the vegetated swale and sediment trap. The blanket will cover the entire area of the graded slope and bottom channel. The bottom and side slopes will be seeded and mulched before the blanket is applied. The blanket will be installed by digging a small trench on the upside of the slope, 12 inches wide by 6 inches deep, and stapling the leading edge of the blanket in the trench. The blanket will be rolled down the slope slowly to maintain soil contact and stapled in 12-inch intervals. If the blanket cannot cover the entire slope, the blankets will be overlapped (min. of 2 inches) and stapled at the overlapped edge. The erosion control blanket will always be installed according to the manufacturer’s instructions and specifications. |  |
| Timing | The erosion control blankets will be installed once the vegetated swale and sediment trap have reached final grade. |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | The erosion control blanket will be inspected weekly and immediately after storm events to determine if cracks, tears, or breaches have formed in the fabric; if so, the blanket will be repaired or replaced immediately. Good contact with the soil must be maintained and erosion should not occur under the blanket. Any areas where the blanket is not in close contact with the ground will be repaired or replaced. |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for individual steep slope controls.]

## 4.5	Stockpiles or Land Clearing Debris Piles Comprised of Sediment or Soil

### Instructions

(see CGP Parts 2.2.5 and 7.2.6) (OHC000005 Part lll.G.2.d.i)

Describe stormwater controls and other measures you will take to minimize the discharge of sediment or soil particles from stockpiled sediment or soil. Include a description of structural practices (e.g., diversions, berms, ditches, storage basins), including design, installation, and maintenance specifications, used to divert flows from stockpiled sediment or soil, retain or detain flows, or otherwise limit exposure and the discharge of pollutants from stockpiled sediment or soil.

For piles that will be unused for 14 or more days, describe what cover or other appropriate temporary stabilization will be used.

Also, describe any controls or procedures used to minimize exposure resulting from adding to or removing materials from the pile.

General

- Insert general description of how you will comply with CGP Part 2.2.5

- Example: On-site and off-site stockpile and borrow areas shall be protected from erosion and sedimentation by the use of best management practices. These areas must be shown in the site map and permitted in accordance with general permit requirements.

- Contractor to delineate stock pile location on plans to be kept on site during construction.

- Construct stockpiles in accessible locations that do not interfere with natural drainage. Install appropriate sediment controls to trap sediment such as silt fence immediately adjacent to the stockpile or sediment traps or basins downstream of stockpile. Stockpile side slopes shall not exceed a ratio of 2:1.

- If stockpile is stored for more than 14 days, it should be temporary seeded, or covered with a tarp.

Specific Stockpile Controls

| Insert name of stockpile control to be installed |  |
| --- | --- |
| Description: Insert description of stockpile control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the stockpile control (Note: At a minimum, you must comply with following requirement in CGP Part 2.2.5.d: “You are prohibited from hosing down or sweeping soil or sediment accumulated on pavement or other impervious surfaces into any constructed or natural site drainage feature, storm drain inlet, or receiving water”) |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for individual stockpile controls.]

## 4.6	Topsoil

### Instructions

(see CGP Parts 2.2.8 and 7.2.6):

Describe how topsoil will be preserved and identify these areas and associated control measures on your site map(s).

If it is infeasible for you to preserve topsoil on your site, provide an explanation for why this is the case.

General

- Insert general description of how you will comply with CGP Part 2.2.8. If it is infeasible for you to comply with the requirement, include an explanation of why this is the case.

- Example: During grading operations the upper most organic layer of soil is stripped and stockpiled from areas being graded and subsequently replaced on the newly graded areas.

Specific Topsoil Controls

| Insert name of topsoil control to be installed |  |
| --- | --- |
| Description: Insert description of topsoil control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the topsoil control |
| Design Specifications | Include copies of design specifications here |

| Example: Topsoil Control #1 |  |
| --- | --- |
| Description: Prior to stripping topsoil, install appropriate downslope erosion and sedimentation controls such as sediment traps and basins. Remove the soil material no deeper than what the county soil survey describes as “surface soil”. Construct stockpiles in accessible locations that do not interfere with natural drainage. Install appropriate sediment controls to trap sediment such as silt fence immediately adjacent to the stockpile or sediment traps or basins downstream of the stockpile. Stockpile side slopes shall not exceed a ratio of 2:1. Prior to applying topsoil, the topsoil should be pulverized. To ensure bonding, grade the subsoil and roughen the top 3-4 in. by disking. Do not apply when site is wet, muddy, or frozen, because it makes spreading difficult, causes compaction problems, and inhibits bonding with subsoil. Apply topsoil evenly to a depth of at least 4 inches and compact slightly to improve contact with subsoil. After spreading, grade and stabilize with seeding or appropriate vegetation. |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Topsoil stockpiles should be stabilized with temporary vegetation and provided sufficient sediment controls. Sediment Controls will need regular inspection and appropriate repairs as needed |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for individual topsoil controls.]

## 4.7	Soil Compaction

### Instructions

(see CGP Parts 2.2.9 and 7.2.6):

- In areas where final vegetative stabilization will occur or where infiltration practices will be installed, describe the controls, including design, installation, and maintenance specifications that will be used to restrict vehicle or equipment access or condition the soil for seeding or planting.

General

- Insert general description of how you will comply with CGP Part 2.2.9

- Construction activity creates highly compacted soils that restrict water infiltration and root growth. The best time for improving soil condition is during the establishment of permanent vegetation. It is highly recommended that subsoilers, plows, or other implements are specified as part of final seedbed preparation. Use discretion in slip-prone areas.

- The last layer of soil, including topsoil should be compacted to 80%-85% of the maximum standard proctor density, in areas outside the parking lot that will receive vegetation. This is particularly important in cut slope and embankment areas. In pavement and island areas, it is recommended that the soil beis compacted to 98% and 95% of the maximum standard proctor density respectively; the last compacted layer may be scsacrificedo improve the soil growth characteristics.

Specific Soil Compaction Controls

| Insert name of soil compaction control to be installed |  |
| --- | --- |
| Description: Insert description of soil compaction control to be installed |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the soil compaction control |
| Design Specifications | Include copies of design specifications here |

| Example: Root Zone Protection |  |
| --- | --- |
| Description: Tree protection areas must be made visible during construction. A physical barrier of a fence and signage must be in place prior to clearing and remain in place throughout construction. |  |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Inspect weekly, adjust and repair protection if damaged. |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for individual soil compaction controls.]

## 4.8	Sediment Basins and Sediment Traps

General

- Insert general description of how you will comply with CGP

- A sediment basin is a temporary settling pond that releases runoff at a controlled rate. Refer to site maps for volume calculations.

Specific Controls

| Insert name of soil compaction control to be installed |  |
| --- | --- |
| Description: Insert description of soil compaction control to be installed |  |
| Location & Design | Insert approximate location or reference |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the control |
| Design Specifications | Include copies of design specifications here |

| Example: Sediment Trap Control |  |
| --- | --- |
| Description: Proposed detention basins expansion shall be utilized as the temporary sedimentation basin. A sediment trap is a temporary settling pond formed by construction of an embankment and/or excavated basin and having a simple outlet structure that is typically stabilized with geotextile and rip-rap. |  |
| Location & Design | Refer to erosion control detail sheet and site map. |
| Installation | Sediment basins, along with other sediment-control practices, must be constructed as a first step in any land disturbing activity and must be functional before upslope land disturbance takes place. |
| Maintenance Requirements | Keep in effective operating condition and remove accumulated sediment when sediment exceeds 50% or the minimum required sediment storage design capacity and prior to the post-construction practice. A maintenance program shall be established to maintain the capacity and function of the sediment basin. Sediment basins shall be inspected on a weekly basis and after each runoff event. Necessary activities are shown as follows: - Establish vegetative cover and fertilize as necessary to maintain a vigorous cover in and around the sediment trap. - Inspect the pool area, embankment and spillway area for burrowing rodents, slope failure, seepage, excess settlement, and displaced stone. The area should be inspected for structural soundness and repaired as needed. - Regularly inspect water discharged from trap for excess suspended sediments. Identify and perform necessary repairs to improve water quality. Excessive suspended sediments may require design modifications or treatment with flocculants. - Remove undesirable vegetation periodically to prevent growth of trees and shrubs on the embankment and spillway areas. - Promptly repair eroded areas. Reestablish vegetative cover immediately where scour erosion has removed established seeding. - Promptly remove any burrowing rodents that may invade areas of the embankment. - Remove trash and debris that may block spillways. - Dewatering outlets shall be regularly checked to ensure that performance is maintained. - Filter stone choked with sediment shall be removed and replaced to restore its flow capacity. - Remove sediment and restore the sediment trap to its original dimensions when sediment has accumulated to the top of the sediment storage or wet storage zone. This elevation shall be signified by the top of a stake near the center of the trap. Removing sediment by hand may be necessary adjacent to the outlet section of the embankment to prevent equipment damage - After the entire construction project is completed, temporary sediment traps should be dewatered and regraded so as to conform to the contours of the area. All temporary structures should be removed, and the area seeded, mulched and stabilized as necessary. |
| Design Specifications | Include copies of design specifications here |

| Example: Sediment Basin Control |  |
| --- | --- |
| Description: Proposed detention basins expansion shall be utilized as the temporary sedimentation basin. |  |
| Location & Design | Refer to erosion control detail sheet and site map. |
| Installation | Sediment basins, along with other sediment-control practices, must be constructed as a first step in any land disturbing activity and must be functional before upslope land disturbance takes place. |
| Maintenance Requirements | Keep in effective operating condition and remove accumulated sediment when sediment exceeds 50% or the minimum required sediment storage design capacity and prior to the post-construction practice. A maintenance program shall be established to maintain the capacity and function of the sediment basin. Sediment basins shall be inspected on a weekly basis and after each runoff event. Necessary activities are shown as follows: - Establish vegetative cover and fertilize as necessary to maintain a vigorous cover in and around the sediment basin. - Remove undesirable vegetation periodically to prevent growth of trees and shrubs on the embankment and spillway areas. - Promptly repair eroded areas. Reestablish vegetative cover immediately where scour erosion has removed established seeding. - Promptly remove any burrowing rodents that may invade areas of the embankment. - Remove trash and debris that may block spillways and accumulate in the pond. - Remove sediment from basin when it fills the design depth of the sediment storage zone. This elevation shall be marked on a cleanout stake near the center of the basin. - Check spillway outlets and points of inflow to ensure drainage is not causing erosion and that outlets are not clogged. Replace displaced riprap immediately. - After the entire construction project is completed, temporary sediment basins should be dewatered and regraded to conform to the contours of the area. All temporary structures should be removed, and the area seeded, mulched and stabilized as necessary. |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for individual sediment basin and sediment trap controls.]

## 4.9	Sediment Barriers and Diversions, Perimeter Controls

General

- Insert general description of how you will comply with CGP

- The Contractor will use perimeter filter fabric fence to capture construction related sediment carried in sheet flow runoff. Use dikes to divert and control surface water and sediment flow to prevent discharge of construction related sediment from the project. Install perimeter filter fabric fences and dikes before any clearing and grubbing operations. Ensure that the ponding of water behind the perimeter filter fabric fence or dike will not damage property or threaten human health and safety.

- Sediment structure and perimeter sediment barriers shall be implemented as the first step of grading within seven (7) days from the start of clearing and grubbing and shall ccontinueto function until the slope development area is restabilized. Sediment control devices shall be implemented for all areas remaining disturbed for over 14 days.

Specific Controls

| Insert name of soil compaction control to be installed |  |
| --- | --- |
| Description: Insert description of soil compaction control to be installed |  |
| Location & Design | Insert approximate location or reference |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the control |
| Design Specifications | Include copies of design specifications here |

| Example: Silt Fence/Filter Fabric Fence |  |
| --- | --- |
| Description: Silt fence shall be constructed before upslope land disturbance begins. See construction details in Appendix A. |  |
| Location & Design | Install at toe of slopes along level contours around the perimeter with ends wrapped uphill. Refer to erosion control detail sheet for details. |
| Installation | Prior to any earth moving upstream of location. |
| Maintenance Requirements | Silt fences shall be inspected weekly and after each rainfall and at least daily during a prolonged rainfall. The location of existing silt fence shall be reviewed daily to ensure its proper location and effectiveness. If damaged, the silt fence shall be repaired immediately. Silt fence shall allow runoff to pass only as diffuse flow through the geotextile. If runoff overtops the silt fence, flows under the fabric or around the fence ends, or in any other way allows a concentrated flow discharge, one of the following shall be performed, as appropriate: 1) the layout of the silt fence shall be changed, 2) accumulated sediment shall be removed, or 3) other practices shall be installed. Sediment deposits shall be routinely removed when the deposit reaches approximately one-half of the height of the silt fence. |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for individual sediment barriers, diversions, and perimeter controls.]

## 4.10	Storm Drain Inlets

General

- Insert general description of how you will comply with CGP

- Storm drain inlet protection devices remove sediment from storm water before it enters storm sewers and downstream areas. All catch basin grates are to be protected with devices that meet Ohio’s Rainwater and Land Development standards. They shouble be routinely cleaned and maintained.

Specific Controls

| Insert name of soil compaction control to be installed |  |
| --- | --- |
| Description: Insert description of soil compaction control to be installed |  |
| Location & Design | Insert approximate location or reference |
| Installation | Insert approximate date of installation |
| Maintenance Requirements | Insert maintenance requirements for the control |
| Design Specifications | Include copies of design specifications here |

| Example: Inlet Protection, Dandy Bags, Beaver Dams |  |
| --- | --- |
| Description: Silt fence shall be constructed before upslope land disturbance begins. See construction details in Appendix A. |  |
| Location & Design | Refer to erosion control detail sheet. Dandy Bags will be used on catch basin grates. Beaver Dams will be used on catch basins with curb and gutter inlets. Alternative Inlet Protection may be installed with operator’s approval. Storm drain inlet protection is applicable anywhere construction site runoff may enter closed conveyance systems through storm sewer inlets. Generally, inlet protection is limited to areas draining less than 1 acre. |
| Installation | Install as catch basins are installed and tops are placed. Once the contributing drainage area has been properly stabilized, all filter material and collected sediment shall be removed and properly disposed. |
| Maintenance Requirements | Inspect weekly and after every half inch rain event. Areas where there is active traffic shall be inspected daily. Remove accumulated debris and repair or replace inlet protection as the fabric develops tears. Clean, or remove and replace, the protection measures as sediment accumulates, the filter becomes clogged, and/or performance is compromised. Where there is evidence of sediment accumulation adjacent to the inlet protection measure, you must remove the deposited sediment by the end of the same work day in which it is found or by the end of the following work day. |
| Design Specifications | Include copies of design specifications here |

[Repeat as needed for individual storm drain inlet controls.]

## 4.11	Chemical Treatment

General

- Insert general description of how you will comply with CGP

- No treatment chemical use is permitted on-site.

## 4.11	Other Stormwater Controls

General

- Insert general description of how you will comply with CGP

- There are no other stormwater controls at this time.

# SECTION 5: POLLUTION PREVENTION CONTROLS

## 5.1	Potential Sources of Pollution

### Instructions

Instructions (see CGP Part 7.2.3.g):

Identify and describe all pollutant-generating activities at your site (e.g., paving operations; concrete, paint, and stucco washout and waste disposal; solid waste storage and disposal).

For each pollutant-generating activity, include an inventory of pollutants or pollutant constituents associated with that activity (e.g., sediment, fertilizers, and/or pesticides, paints, solvents, fuels), which could be exposed to rainfall or snowmelt, and could be discharged in stormwater from your construction site. You must take into account where potential spills and leaks could occur that contribute pollutants to stormwater discharges, and any known hazardous or toxic substances, such as PCBs and asbestos, that will be disturbed or removed during construction.

Construction Site Pollutants

Insert text or use table below

| Pollutant-Generating Activity | Pollutants or Pollutant Constituents (That could be discharged if exposed to stormwater) | Location on Site (Or reference SWPPP site map where this is shown) |
| --- | --- | --- |
| Clearing/Grading/Earthwork | Sediment | Refer to Project Drawings |
| Paving Operations | Sediment, trash, oils | Refer to Project Drawings |
| Material Delivery/Storage | Sediment, oils, solids, chemicals | Site Entrance/Staging Area |
| Solid Waste | Solids | Contractor Staging Area |
| Vehicle Maintenance/Storage | Sediment, Oils, Chemicals | Contractor Staging Area |
| Spills | Sediment, Nutrients, Oils, Trash, Other Chemicals | Refer to Project Drawings |
| Landscape Operations | Sediment, Nutrients, Bacteria | Refer to Project Drawings |
| Sanitary Facilities | Sediment, Bacteria, Nutrients | Contractor Staging Area |
| Curb & Gutter, Sidewalk | Concrete | Curb and gutter, sidewalks, drives |
| Cleaning Solvents: Equipment Cleaning | Perchloroethylene, methylene chloride, trichloroethylene, petroleum distillates | No equipment cleaning allowed in project limits |
| Glue, adhesives | Polymers, epoxies | Building construction |
| Paints | Metal oxides, Stoddard solvent, talc, calcium carbonate, arsenic | Building construction |
| Plaster | Calcium sulphate, calcium carbonate, sulfuric acid | Building construction |
| Concrete Curing Compounds | Naphtha | Curb and gutter, sidewalks, drives |
| Hydraulic oil/fluids | Mineral oil | Leaks or broken hoses from equipment |
| Gasoline | Benzene, ethyl benzene, toluene, xylene, MTBE | Secondary containment/staging area |
| Diesel Fuel | Petroleum distillate, oil & grease, naphthalene, xylenes | Secondary containment/staging area |
| Fertilizer | Nitrogen, phosphorous | Newly seeded areas |
| Kerosene | Coal oil, petroleum distillates | Secondary containment/staging area |
| Antifreeze/coolant | Ethylene glycol, propylene glycol, heavy metals (copper, lead, zinc) | Leaks or broken hoses from equipment |

[Include additional rows as necessary.]

## 5.2	Spill Prevention and Response

### Instructions

(see CGP Parts 2.3.6 and 7.2.6.b.viii):

Describe procedures you will use to prevent and respond to leaks, spills, and other releases. You must implement the following at a minimum:

  - Procedures for expeditiously stopping, containing, and cleaning up spills, leaks, and other releases. Identify the name or title of the employee(s) responsible for detection and response of spills or leaks; and

  - Procedures for notification of appropriate facility personnel, emergency response agencies, and regulatory agencies where a leak, spill, or other release containing a hazardous substance or oil in an amount equal to or in excess of a reportable quantity consistent with Part 2.3.6 and established under either 40 CFR part 110, 40 CFR part 117, or 40 CFR part 302, occurs during a 24-hour period. Contact information must be in locations that are readily accessible and available to all employees.

Some projects/site may be required to develop a Spill Prevention Control and Countermeasure (SPCC) plan under a separate regulatory program (Section 311 of the CWA). If you are required to develop an SPCC plan, or you already have one, you should include references to the relevant requirements from your plan.

Insert spill prevention and response procedures here

Example: General

- A spill prevention control and countermeasure (SPCC) plan must be developed for sites with one above-ground storage tank of 660 gallons or more, total above-ground storage of 1,330 gallons or below-ground storage of 4,200 gallons of fuel.

- The following must be included in the SPCC plan. “spill prevention and response procedures (see part 1.3.5 and part 2.3). you must include the following:

- procedures for expeditiously stopping, containing, and cleaning up spills, leaks, and other releases. identify the name or position of the employee(s) responsible for detection and response of spills or leaks; and

- procedures for notification of appropriate facility personnel, emergency response agencies, and regulatory agencies where a leak, spill, or other release containing a hazardous substance or oil in an amount equal to or in excess of a reportable quantity consistent with part 2.3.6 and established under either 40 cfr 110, 40 cfr 117, or 40 cfr 302, occurs during a 24-hour period.

- contact information must be in locations that are readily accessible and available to all employees.

You may also reference the existence of spill prevention control and countermeasure (SPCC) plans developed for the construction activity under part 311 of the cwa, or spill control programs otherwise required by a NPDES permit for the construction activity, provided that you keep a copy of that other plan on site.” (construction general permit, p. 31, 7.2.6 b vii)

- In the event of an accidental spill, immediate action will be undertaken by the general contractor to contain and remove the spilled material. All hazardous materials, including contaminated soil and liquid concrete waste, will be disposed of by the contractor in the manner specified by federal, state and local regulations and by the manufacturer of such products. as soon as possible, the spill will be reported to the appropriate agencies. As required under the provisions of the clean water act, any spill or discharge entering waters of the united states will be properly reported. The general contractor will prepare a written record of any spill and associated clean-up activities of petroleum products or hazardous materials in excess of 1 gallon or reportable quantities, whichever is less.

- The contractor shall contact the Ohio EPA at 800.282.9378, the local fire department and the local emergency planning committee in the event of a petroleum spill (>25 gallons) or the presence of sheen.

- In addition to the good housekeeping and material management practices discussed in the previous sections of this plan, the following practices will be followed for spill prevention and cleanup:

- Manufacturers’ recommended methods for spill cleanup will be clearly posted and site personnel will be made aware of the procedures and the location of the information and cleanup supplies

- Materials and equipment necessary for spill cleanup will be kept in the material storage area onsite. Equipment and materials will include but not be limited to brooms, dust pans, mops, rags, gloves, goggles, kitty litter, sand, sawdust, plastic and metal trash containers specifically for this purpose.

- All spills will be cleaned up immediately after discovery.

- The spill area will be kept well ventilated and personnel will wear appropriate protective clothing to prevent injury from contact with a hazardous substance

- Spills of toxic or hazardous materials will be reported to the appropriate State or local government agency as required, regardless of the size.

- The spill prevention plan will be adjusted to include measures to prevent this type of spill from reoccurring. A description of the spill, what caused it, and the cleanup measures will also be included.

- The site superintendent responsible for the day-to-day operations will be the spill prevention and cleanup coordinator. He will designate at least three other site personnel who will receive spill prevention training. These individuals will each become responsible for a particular phase of prevention and cleanup. The names of responsible spill personnel will be posted in the material storage area and in the office trailer onsite.

## 5.3	Fueling and Maintenance of Equipment or Vehicles

### Instructions

(see CGP Parts 2.3.1 and 7.2.6):

Describe equipment/vehicle fueling and maintenance practices that will be implemented to eliminate the discharge of spilled or leaked chemicals (e.g., providing secondary containment (examples:  spill berms, dikes, spill containment pallets) and cover where appropriate, and/or having spill kits readily available.)

General

- Insert general description of how you will comply with the CGP Part 2.3.1

- Equipment fueling and maintenance shall be in designated areas only, these designated areas shall be located away from watercourses, drainage ditches, field drainage, or other stormwater drainage areas.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Fueling Practice #1 |  |
| --- | --- |
| Description: Several types of vehicles and equipment will be used on-site throughout the project, including graders, scrapers, excavators, loaders, paving equipment, rollers, trucks and trailers, backhoes, and forklifts. All major equipment/vehicle fueling, and maintenance will be performed off-site. A small, 20-gallon pickup bed fuel tank will be kept on-site in the combined staging area. When vehicle fueling must occur on-site, the fueling activity will occur in the staging area. Only minor equipment maintenance will occur on-site. All equipment fluids generated from maintenance activities will be disposed of into designated drums stored on spill pallets in accordance with Part 3.1. Absorbent, spill-cleanup materials and spill kits will be available at the combined staging and materials storage area. Drip pans will be placed under all equipment receiving maintenance and vehicles and equipment parked overnight. |  |
| Implementation | Insert approximate date of implementation BMPs implemented for equipment and vehicle maintenance and fueling activities will begin at the start of the project. |
| Maintenance Requirements | Inspect equipment/vehicle storage areas and fuel tank weekly and after storm events. Vehicles and equipment will be inspected on each day of use. Leaks will be repaired immediately, or the problem vehicle(s) or equipment will be removed from the project site. Keep ample supply of spill-cleanup materials on-site and immediately clean up spills and dispose of materials properly. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

## 5.4	Washing of Equipment and Vehicles

### Instructions

(see CGP Parts 2.3.2 and 7.2.6):

Describe equipment/vehicle washing practices that will be used to minimize the discharge of pollutants from equipment and vehicle washing, wheel wash water, and other types of wash waters (e.g., locating activities away from receiving waters and storm drain inlets or constructed or natural site drainage features and directing wash waters to a sediment basin or sediment trap, using filtration devices, such as filter bags or sand filters, or using other similarly effective controls).

Describe how you will prevent the discharge of soaps, detergents, or solvents and provide storage by either (1) cover (examples: plastic sheeting or temporary roofs) to prevent these detergents from coming into contact with rainwater, or (2) a similarly effective means designed to minimize the discharge of pollutants from these areas.

General

- Insert general description of how you will comply with CGP Part 2.3.2

- All equipment and vehicle washing will be performed off-site.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

## 5.5	Storage, Handling, and Disposal of Building Products, Materials, and Wastes

### Instructions

Instructions (see CGP Parts 2.3.3 and 7.2.6):

- For any of the types of building products, materials, and wastes in Sections 5.5.1-5.5.6 below that you expect to use or store at your site, provide the information on how you will comply with the corresponding CGP provision and the specific practices that you will employ.

General

- Covered and leak-proof containers are planned for disposal of debris, trash, hazardous or petroleum wastes.

- All waste will comply with applicable state or local waste disposal requirements and provisions.

5.5.1	Building Materials and Building Products

(Note:  Examples include asphalt sealants, copper flashing, roofing materials, adhesives, concrete admixtures, and gravel and mulch stockpiles.)

General

- Insert general description of how you will comply with CGP Part 2.3.3.a. If there are construction wastes that are subject to the exception in Part 2.3.3.a, describe the specific wastes that will be stored on your site.

- The project will result in construction and domestic debris and waste. Contractor shall supply the means to minimize the exposure of construction products, materials, and waste to precipitation and stormwater. The contractor shall provide facilities to properly handle and dispose of waste with considerations for health and safety of the employees.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Pollution Prevention Practice # 1 |  |
| --- | --- |
| Location and Description: Contractor shall designate a waste collection area on site that does not receive a substantial amount of runoff from upland areas and does not drain directly to a water body. Ensure that containers have lids, so they can be covered before periods of rain, and keep containers in a covered area whenever possible. Schedule waste collection to prevent the containers from overfilling. Cleanup spills immediately. For hazardous materials, follow cleanup instructions on the package. Use an absorbent material such as sawdust or kitty litter to contain the spill. During the demolition phase of construction, provide extra containers and schedule more frequent pickups. Collect, remove and dispose of all construction site wastes at authorized disposal areas. Contact a local environmental agency to identify these disposal sites. All hazardous waste materials such as oil filters, petroleum products, paint, and equipment maintenance fluids will be stored in structurally sound and sealed containers under cover within the hazardous materials storage area. |  |
| Implementation | Insert approximate date of implementation The materials storage area will be installed after grading and before any infrastructure is constructed at site. |
| Maintenance Requirements | The storage area will be inspected weekly and after storm events. He storage area will be kept clean, well-organized, and equipped with ample cleanup supplies as appropriate for the materials being stored. Perimeter controls, containment structures, covers and liners will be repaired or replaced as needed to maintain proper function. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

5.5.2	Pesticides, Herbicides, Insecticides, Fertilizers, and Landscape Materials

General

- Insert general description of how you wil comply with CGP Part 2.3.3.b

- Fertilizers will be used on the landscape areas throughout the project site. Contractor shall follow all regulations that apply to the use, handling, or disposal of pesticides and fertilizers. Contractor shall store fertilizers and pesticides in a dry, covered area and will take precautions to minimize the exposure of these chemicals to precipitation and to stormwater.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Pollution Prevention Practice # 1 |  |
| --- | --- |
| Description: Contractor shall follow all Federal, State, and Local regulations that apply to the use, handling, or disposal of pesticides and fertilizers. Contractor shall not handle the materials any more than necessary. Contractor shall store pesticides and fertilizers in a dry, covered area. Contractor shall construct berms or dikes to contain stored pesticides and fertilizers in case of spillage. Contractor shall follow the recommended application rates and methods for the products. Contractor shall have equipment and absorbent materials available in storage and application areas to contain and cleanup any spills that occur. |  |
| Location and Design: Locate away from general construction activities on raised pallets within containment areas or in individual storage containers. |  |
| Implementation | Insert approximate date of implementation As needed during the construction sequencing. |
| Maintenance Requirements | Inspect areas daily for leaks, spills or potential contamination. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

5.5.3	Diesel Fuel, Oil, Hydraulic Fluids, Other Petroleum Products, and Other Chemicals

General

- Insert general description of how you wil comply with CGP Part 2.3.3.c.

- Note: The requirements in CGP Part 2.3.3.c differ based on whether you chemical containers on your site are less than 55 gallons, or 55 gallons or more. See CGP Parts 2.3.3.c.i and ii.

- If site constraints prevent you from storing chemical containers 50 feet away from receiving waters or the other site drainage features as required in CGP Part 2.3.3c.ii(b), document the specific reasons why the 50-foot setback is not feasible, and how you will store containers as far away as the site permits

- On-site fueling shall be limited to the few vehicles that are to remain onsite. Other fluids shall not be stored on-site with all maintenance on vehicles being completed at off-site locations. Should storage of materials on site be required, Contractor shall store materials in water-tight containers and provide cover to minimize the exposure of these products to precipitation and stormwater.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Pollution Prevention Practice # 1 |  |
| --- | --- |
| Location and Design: Install diked area around fuel storage tanks and install near stabilized surface away from drainage ways. Contractor shall store new and used petroleum products for vehicles in covered areas with berms or dikes in place to contain any spills. Immediately contain and cleanup any spills with absorbent materials. Have equipment available in fuel storage areas and in vehicles to contain and cleanup any spills that occur. |  |
| Implementation | Insert approximate date of implementation Install diked area and stabilized gravel pad around fuel stations and storage containers as they are moved on site |
| Maintenance Requirements | Inspect weekly to ensure diked area contains any spills or contaminants, remove contaminates per recommended removal techniques as they become apparent within diked areas. Contractor shall clean up spills immediately, using dry clean-up methods where possible, and dispose of used materials properly. Contractor is prohibited from hosing down areas to clean surfaces or spills. Contractor shall eliminate the source of the spill to prevent a discharge or a furtherance of an ongoing discharge. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

5.5.4	Hazardous or Toxic Waste

(Note:  Examples include paints, caulks, sealants, fluorescent light ballasts, solvents, petroleum-based products, wood preservatives, additives, curing compounds, and acids.)

General

- Insert general description of how you wil comply with CGP Part 2.3.3.d

- It is anticipated that the project will result in minimal amounts of toxic or hazardous waste. Should such wastes be produced, the contractor shall store materials in containers which constructed to prevent leakage and corrosion. All toxic wastes, hazardous wastes and non-sediment pollutants must be disposed of in accordance with local, state, and federal guidelines. Wash out of cement trucks should occur in designated pit or diked areas, where washings can be removed and properly disposed off-site when they harden. storage tanks should also be located in pit or diked areas. In addition, sufficient oil and grease absorbing materials and flotation booms to clean and contain fuel and chemical spills must be kept on site. No toxic or hazardous wastes shall be disposed into storm drains, septic tanks or by burying, burning or mixing the wastes.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Pollution Prevention Practice # 1 |  |
| --- | --- |
| Description: All hazardous waste materials such as oil filters, petroleum products, paint, and equipment maintenance fluids will be stored in structurally sound and sealed shipping containers, within the hazardous materials storage area. Hazardous waste materials will be stored in appropriate and clearly marked containers and segregated from other non-waste materials. Secondary containment will be provided for all waste materials in the hazardous materials storage area and will consist of commercially available spill pallets. Additionally, all hazardous waste materials will be disposed of in accordance with federal, state, and municipal regulations. Hazardous waste materials will not be disposed of into the on-site dumpsters. All personnel will be instructed, during tailgate training sessions, regarding proper procedures for hazardous waste disposal. Notices that state these procedures will be posted in the office trailer and the individual who manages day-to-day site operations will be responsible for seeing that these procedures are followed. |  |
| Implementation | Insert approximate date of implementation Shipping containers used to store hazardous waste materials will be installed once the site materials storage area has been installed. Install hazardous waste containment areas as soon as materials are present on site. |
| Maintenance Requirements | Inspect hazardous containment areas daily and remove or repair damaged areas. The hazardous waste material storage areas will be inspected weekly and after storm events. The storage areas will be kept clean, well-organized, and equipped with ample cleanup supplies as appropriate for the materials being stored. Material safety data sheets, material inventory, and emergency contact numbers will be maintained in the office trailer. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

5.5.5	Construction and Domestic Waste

(Note:  Examples include packaging materials, scrap construction materials, masonry products, timber, pipe and electrical cuttings, plastics, styrofoam, concrete, demolition debris, and other trash or discarded materials.)

General

- Insert general description of how you wil comply with CGP Part 2.3.3.e

- If there are wastes that are subject to the exception in Part 2.3.3.e.ii, describe the specific wastes that will be stored on your site.

- The project will result in construction and domestic debris and waste. The Contractor shall provide facilities to properly handle and dispose of waste with considerations for health and safety of employees.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Pollution Prevention Practice # 1 |  |
| --- | --- |
| Description: Install central dumpsters in areas approved by waste management company and throughout site as need during construction. All waste materials shall be collected and stored in a securely lidded metal dumpster rented from a licensed solid waste management company. The dumpster will meet all local and State solid waste management regulations. All trash and construction debris from the site will be deposited in the dumpster. The dumpster will be emptied as needed and no construction waste material will be buried on site. Contractor shall designate a waste collection area on site that does not receive a substantial amount of runoff from upland areas and does not drain directly to a water body. Contractor shall provide waste containers of sufficient size and number to contain construction and domestic wastes. Contractor shall ensure that containers have lids, so they can be covered before periods of rain, and shall keep containers in a covered area whenever possible. Contractor shall schedule waste collection to prevent the containers from overfilling. Contractor shall cleanup spills immediately. Contractor shall collect, remove and dispose of all construction site wastes at authorized disposal areas. Contact a local environmental agency to identify these disposal sites. |  |
| Implementation | Insert approximate date of implementation Install central dumpster on site as soon as construction materials are present. |
| Maintenance Requirements | Inspect daily and inform waste management company of any need for repairs or disposal. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

5.5.6	Sanitary Waste

General

- Insert general description of how you wil comply with CGP Part 2.3.3.f

- Temporary sanitary facilities (portable toilets) will be provided at the site throughout the construction phase. The toilets will be in the staging area. The portable toilets will be located away from a concentrated flow paths and traffic flow and will have collection pans underneath as secondary containment.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Pollution Prevention Practice # 1 |  |
| --- | --- |
| Description: All sanitary waste shall be collected from portable units by a licensed sanitary waste management contractor as required by local, and/or State regulation. |  |
| Implementation | Insert approximate date of implementation Install portable waste units on site as soon as construction personnel are present. The portable toilets will be brought to the site once the staging area has been established. |
| Maintenance Requirements | Inspect portable units daily and remove or repair damaged areas as encountered. The portable toilets will be inspected weekly for evidence of leaking holding tanks. Toilets with leaking holding tanks will be removed from the site and replaced with new portable toilets. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

## 5.6	Washing of Applicators and Containers used for Stucco, Paint, Concrete, Form Release Oils, Cutting Compounds, or Other Materials

### Instructions

(see CGP Parts 2.3.4 and 7.2.6):

- Describe how you will comply with the CGP Part 2.3.4 requirement for washing applications and containers.

General

- Insert general description of how you wil comply with CGP Part 2.3.3.g

- Concrete washout areas shall be designated for the project. Should washout of paint of other materials be required, contractor shall direct wash water into leak-proof containers or lined pit designed so that no overflows can occur due to inadequate sizing or precipitation.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Concrete Wash Out |  |
| --- | --- |
| Description: Contractor shall direct wash water into a leak-proof container or leak-proof and lined pit designed so that no overflows can occur due to inadequate sizing or precipitation. Contractor shall handle washout or cleanout wastes as follows: Contractor shall not dump liquid wastes in storm sewers or waters of the U.S. Contractor shall dispose of liquid wastes in accordance with applicable requirements in the 2018 CGP. Contractor shall remove and dispose of hardened concrete waste consistent with the handling of other construction wastes. |  |
| Location and Design: Locate away from stream, drainage channels or catch basins and near a stabilized surface. Any washout or cleanout activities will be located as far away as possible from the waters of the U.S. and stormwater inlets or conveyances, and, to the extent feasible, the contractor shall designate the washout areas to be used for washout or cleanout only. |  |
| Implementation | Insert approximate date of implementation Install prior to placing concrete on site. Concrete trucks will be allowed to wash out in designated areas, which will be maintained and properly disposed of. |
| Maintenance Requirements | Inspect weekly and clean out and remove excess concrete from the site. |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Form Release Oils |  |
| --- | --- |
| Description: Near concrete areas that need to be formed by hand. Water based biodegradable form release agents should be used to prevent potential contamination of surrounding soils. |  |
| Implementation | Insert approximate date of implementation As concrete activities progress. |
| Maintenance Requirements | Inspect containers for leaks, cracks and general deterioration. Inspect applicators for clean functionality and excessive build up. Dispose of damaged containers and applicators according to manufacturer’s recommendations. |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Curing Compounds |  |
| --- | --- |
| Description: On top of concrete pavements and curbs. Ensure applicators are in working condition to prevent excess curing compound from contaminating adjoining soils and surface. |  |
| Implementation | Insert approximate date of implementation Immediately after placement of concrete. |
| Maintenance Requirements | Inspect containers for leaks, cracks, and general deterioration. Inspect applicators for clean functionality and excessive build up. Dispose of damaged containers and applicators according to manufacturer’s recommendations. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

]

## 5.7	Application of Fertilizers

### Instructions

Instructions (CGP Parts 2.3.5 and 7.2.6.x):

- Describe how you will comply with the CGP Part 2.3.5 requirement for the application of fertilizers.

General

- Insert general description of how you wil comply with CGP Part 2.3.5

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Pollution Prevention Practice # 1 Fertilizer |  |
| --- | --- |
| Description: Type and amount of fertilizer is to be determined by the final plantings determined for the site. |  |
| Implementation | Insert approximate date of implementation Fertilizer shall be applied at the appropriate time of year to coincide as closely as possible to the period of maximum vegetation uptake and growth. Contractor shall apply fertilizer at a rate in amounts consistent with manufacturer’s specifications. Contractor shall avoid applying fertilizers before heavy rains that could cause excess nutrients to be discharged. Contractor shall never apply fertilizers to frozen ground. Contractor shall never apply fertilizers to stormwater conveyance channels. Contractor shall follow all Federal, State, and Local requirements regarding fertilizer application |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed for individual fertilizer practices.]

## 5.8	Tracking/Off-Site Traffic

General

- The Contractor must minimize the track-out of sediment onto off-site streets, other paved areas, and sidewalks from vehicles and equipment exiting the construction site. Where sediment has been tracked-out from your site onto paved roads, sidewalks, or other paved areas outside of your site, remove the deposited sediment by the end of the same business day in which the track-out occurs or by the end of the next business day if track-out occurs on a non-business day. Remove the track-out by sweeping, shoveling, or vacuuming these surfaces, or by using other similarly effective means of sediment removal. You are prohibited from hosing or sweeping tracked-out sediment into any stormwater conveyance, storm drain inlet, or water of the U.S. Open transport vehicles should be covered during travel on roadways to the point of disposal to prevent debris spills and dust.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Construction Entrance |  |
| --- | --- |
| Description: Installed along proposed and existing roadways into the site. Refer to erosion control detail sheet for details. |  |
| Implementation | Insert approximate date of implementation Construct prior to any earth moving activity. |
| Maintenance Requirements | Inspect weekly and after each half inch rain event. Repair stone, fabric and diversion swales, pipe as needed. Construction entrance to be maintained by the Contractor until the site has been paved or is no longer required. If the action of vehicles or equipment traveling over the stabilized construction entrance does not sufficiently remove most of the dirt and mud, then the tires must be washed before entering a public road. Provisions must be made to intercept the water and trap the sediment before it is carried off the site. |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Street Sweeping |  |
| --- | --- |
| Description: Street sweeping/sediment removal techniques will be performed on a regular basis on proposed paved areas and adjoining streets. |  |
| Implementation | Insert approximate date of implementation Begin as soon as base course of paving is down, or adjacent roadways are used for hauling. |
| Maintenance Requirements | Inspect weekly, adjust street sweeping schedule to coincide with top soiling and hauling activities, or as sediments accumulate in gutters. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

## 5.9	Open Burning

- Select one:

☐  Open burning is not permitted on the site.

☐  Open burning is restricted to legal limits (as defined in OAC 3745-19)? NOTE: Open burning is permitted in restricted areas for barbeques, heating, and certain occupational purposes.

☐  Open burning performed in a non-restricted area, but within 1,000 feet of an inhabited building away from the property. NOTE: Open burning in an unrestricted area is limited to scrap lumber, wooden fence posts, agricultural, land-clearing, or landscape wastes.

## 5.10	Dust Minimization

General

- The Dust control using approved materials must be preformed at all times. Dust supressants shall not be applied near catch basins for storm sewers or other drainage ways. The use of motor oils and other petroleum based or toxic liquids for dust supression is prohibited.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Track-Out Control #1 |  |
| --- | --- |
| Description: Dust from the site will be controlled by using a mobile pressure-type distributor truck to apply potable water to disturbed areas. The mobile unit will apply water at a rate of 300 gallons per acre and minimized as necessary to prevent runoff and ponding. Street sweeping/sediment removal techniques will be performed on a regular basis on proposed paved areas and adjoining streets. |  |
| Implementation | Insert approximate date of implementation Dust control will be implemented as needed once site grading has been initiated and during windy conditions (forecasted or actual wind conditions of 20 mph or greater) while site grading is occurring. Spraying of potable water will be performed no more than three times a day during the months of May–September and once per day during the months of October–April or whenever the dryness of the soil warrants it. |
| Maintenance Requirements | At least one mobile unit will be available at all times to distribute potable water to control dust on the project area. Each mobile unit will be equipped with a positive shutoff valve to prevent over watering of the disturbed area. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

## 5.11	Air Permitting Requirements

- Appropriate measures must be taken to endure that all proper air pollution permits are obtained.  ☐  YES   ☐   NO  ☐   N/A

- For restoration or demolition projects:

  - A notification has been submitted to Ohio EPA, Division of Air Pollution Control to determine if asbestos corrective actions are required? ☐  YES   ☐   NO  ☐   N/A

## 5.12	Process Wastewater/Leachate Management

- Process water waters (equipment washing, leachate associated with on-site waste disposal and concrete wash-outs) shall be collected and disposed of properly.

- Sanitary and water PTI Forms shall be filed with the Ohio EPA as required.

## 5.13	Dewatering Practices

General

- Dewatering of sediment settling ponds must take place at the surface of the pond.

- Dewatering will be accomplished with the use of a skimmer or other equivalent device.

- All water from dewatering activities shall be processed through a BMP prior to leaving the site.

- If there is high ground water at this site, the contractor is responsible for designing and implementing a plan to control both surface and ground water during construction.

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Trench and Groundwater Control |  |
| --- | --- |
| Description: Discharge of water with potential sediment from the site shall be through a filter bag, sump pit or other sediment removal device. |  |
| Implementation | Insert approximate date of implementation Installation shall be constructed at onset of construction. |
| Maintenance Requirements | Inspect before every use and throughout use. Remove accumulated debris and repair or replace sediment removal device as the fabric develops tears. Clean, or remove and replace, the protection measures as sediment accumulates, the filter becomes clogged, and/or performance is compromised. Where there is evidence of sediment bypassing the protection measure, you must remove the deposited sediment by the end of the same work day in which it is found or by the end of the following work day if removal by the same work day is not feasible. |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Backwash Water Control |  |
| --- | --- |
| Description: Discharge of backwash water shall be either through hauling away for disposal or returning it to the beginning of the treatment process. |  |
| Implementation | Insert approximate date of implementation Installation shall be constructed at onset of construction. |
| Maintenance Requirements | Inspect before every use and throughout use. Replace and clean the filter media used in dewatering devices when the pressure differential equals or exceeds the manufacturer’s specifications. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

## 5.14	Contaminated Soils

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

| Example: Pollution Practice #1 |  |
| --- | --- |
| Description: All contaminated soil must be treated and/or disposed in an Ohio EPA approved solid waste management facility or hazardous waste treatment, storage or disposal facilities (TSDFs). To ensure the proper disposal of any contaminated soils that have been exposed to and still contain hazardous substances, the contractor shall consult with State or Local solid waste regulatory agencies tor private firms, some landfills might accept contaminated soils, but they require laboratory tests first. Any disposal of contaminated soils shall be coordinated with the Project Engineer, LSP and shall conform to all State and Local regulations. |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | If the site contains contaminated soil, the following shall be used to prevent contamination from being released: - Berms, trenches and pits to collect contaminated runoff and prevent discharges. - Pumping runoff into a sanitary sewer (with prior approval of the sanitary system operator) or into a container for transport to an appropriate treatment/disposal facility. - Covering areas of contamination with tarps or other methods that prevent storm water from coming into contact with the material. |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

## 5.15	Other Pollution Prevention Practices

### Instructions

- Describe any additional pollution prevention practices that do not fit into the above categories.

General

- Insert general description of the problem this control is designed to address

Specific Pollution Prevention Practices

| Insert name of pollution prevention practice |  |
| --- | --- |
| Description: Insert description of practice to be implemented |  |
| Implementation | Insert approximate date of implementation |
| Maintenance Requirements | Insert maintenance requirements for the pollution prevention practice |
| Design Specifications | If applicable include copies of design specifications here |

[Repeat as needed.]

# SECTION 6: INSPECTION, MAINTENANCE, AND CORRECTIVE ACTION

## 6.1	Inspection Personnel and Procedures

General

- All erosion and sedimentation control shall be performed according to: SWPPP and detail plans; according to the latest Ohio EPA authorization for construction activity under the "national pollutant discharge elimination system" (NPDES); any and all required permits, reports, and related documents. see Ohio EPA permit no. OHC 000005 for SWPPP rules and regulations. all contractors and subcontractors must become familiar with all of the above.

- All control measures stated in the SWPPP shall be maintained in fully functional condition until temporary or permanent stabilization of the site is achieved. All erosion and sedimentation control measures shall be inspected by a qualified person in accordance to the contract documents or the applicable permit, whichever is more stringent, and repaired according to the following.

- Inspections of BMPs shall be performed by qualified persons provided by the permittee and the inspection logs are to become a part of this plan. Inspections records shall be signed by the inspector and will be kept for 3 years after the notice of termination is submitted.

- If the site is stabilized and will be dormant for a long period of time, less frequent inspections may be requested of the OEPA via a waiver request.

Site Inspection Schedule

- Specific Inspection Frequency: Inspections will be conducted weekly or after every half inch rainfall so long as earth is not stabilized on the site and construction equipment is interaction with the site. Inspector will utilize a standardized form that indicates intent and location of BMP’s and their appropriateness and general condition of the practice. The form will indicate the date, approximate time, and reason for inspection. Forms will be signed by the inspector and copies placed within the SWP3 and distributed to owner, general contractor and site contractor.

- Rain Gauge Location (if applicable): Click or tap here to enter text.

- At a minimum, the inspection report shall include:

  - the inspection date;

  - names, titles, and qualifications of personnel making the inspection;

  - weather information for the period since the last inspection (or since commencement of construction activity if the first inspection) including a best estimate of the beginning of each storm event, duration of each storm event, approximate amount of rainfall for each storm event (in inches), and whether any discharges occurred;

  - weather information and a description of any discharges occurring during the inspection;

  - location(s) of discharges of sediment or other pollutants from the site;

  - location(s) of BMPs that need to be maintained;

  - location(s) of BMPs that failed to operate as designed or proved inadequate for a particular location;

  - location(s) where additional BMPs are needed that did not exist at the time of inspection; and corrective action required including any changes to the SWP3 necessary and implementation dates.

Dewatering Inspection Schedule

Select the inspection frequency that applies based on CGP Part 4.3.2

Dewatering Inspection

☐ Once per day on which the discharge of dewatering water occurs.

Rain Gauge Location (if applicable)

Specify location(s) of rain gauge to be used for determining whether a rain event of 0.5 inches or greater has occured (only applies to inspections conducted for Part 4.2.2, 4.3, or 4.4.2)

Inspection Report Forms

Insert a copy of any inspection report forms you will use here or in Appendix D of this SWPPP template

(Note:  EPA has developed a sample inspection form that CGP operators can use. The form is available at https://www.epa.gov/npdes/stormwater-discharges-construction-activities#resources)

## 6.2	Corrective Action

### Instructions

(CGP Parts 5 and 7.2.7):

Describe the procedures for taking corrective action in compliance with CGP Part 5.

Personnel Responsible for Corrective Actions

Insert names of personnel or types of personnel responsible for corrective actions

Corrective Action Logs

Insert a copy of any corrective action forms you will use here or in Appendix E of this SWPPP Template

(Note:  EPA has developed a sample corrective action log that CGP operators can use. The form is available at https://www.epa.gov/npdes/stormwater-discharges-construction-activities#resources)

General

- Non-sediment pond BMPs to be repaired within 3 days of inspection and sediment pond BMPs within 10 days of inspection. BMPs not meeting the intended function shall be replaced within 10 days of inspection. missing BMPs shall be installed within 10 days of inspection.

- All seeded areas shall be checked regularly to ensure that a good standing of grass is maintained. areas should be fertilized, watered, and reseeded as needed.

- Silt fences, inlet protection, silt dikes and pervious logs shall be repaired to their original condition if damaged. sediment accumulation must be removed when sediment height reaches one-half the height of the silt fence, inlet protection, silt dike and pervious log.

- Rock check dams should be routinely cleaned once sediment begins to appear on the upstream side of the rock.

- Inspector will notify appropriate project general contractor / site contractor of defects and maintenance required on the BMP’s. BMP’s will be repaired or maintained within 10 days of notice and documented in the SWP3.

## 6.3	Delegation of Authority

### Instructions

Identify the individual(s) or positions within the company who have been delegated authority to sign inspection reports.

Attach a copy of the signed delegation of authority (see example in Appendix J of this SWPPP Template.)

For more on this topic, see Appendix G, Subsection 11 of EPA’s CGP.

Authority must be determined before the start of any earth disturbing activities

Duly Authorized Representative(s) or Position(s):

Insert Company or Organization Name

Insert Name

Insert Position

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

# SECTION 7: TURBIDITY BENCHMARK MONITORING FOR DEWATERING DISCHARGES

### Instructions

(see CGP Part 3.3 and 7.2.8):

If you are required to comply with the Part 3.3 turbidity benchmark monitoring requirements, describe the procedures you will follow to:

- Collect and evaluate samples,

- Report results to EPA and keep records of monitoring information, and

- Take corrective action when necessary.

Include the specific type of turbidity meter you will use for monitoring, as well as any manuals or manufacturer instructions on how to operate and calibrate the meter.

Describe any coordinating arrangement you may have with any other permitted operators on the same site with respect to compliance with the turbidity monitoring requirements, including which parties are tasked with specific responsibilities.

If EPA has approved of an alternate turbidity benchmark pursuant to Part 3.3.2.b, include any data and other documentation you relied on to request use of the specific alternative benchmark.

| Procedures: |  |
| --- | --- |
| Collecting and evaluating samples | Describe how you will collect and evaluate samples |
| Reporting results and keeping monitoring information records | Describe how you will report results to EPA and keep monitoring information records |
| Taking corrective action when necessary | Describe how you will take corrective action when necesary |

| Turbidity Meter: |  |
| --- | --- |
| Type of turbidity meter | Insert the type of turbidity meter |
| Turbidity meter manuals and manufacturer instructions |  |
| Insert a copy of any manuals and manufacturer instructions in Appendix N of this SWPPP Template. |  |

| Coordinating Arrangements for Turbidity Monitoring (if applicable): |  |
| --- | --- |
| Permitted operator name | Insert operator name |
| Permitted operator NPDES ID | Insert operator NPDES ID |
| Coordinating Arrangement | Describe the coordinating arrangement including which parties are tasked with specifc responsibilities |

[Repeat as necessary.]

| Alternate turbidity benchmark (if applicable): |  |
| --- | --- |
| Alternate turbidity benchmark (NTU) | Insert alternate turbidity benchmark |
| Data and documentation used to request the alternate benchmark | Insert the data and documentation that was submitted to EPA to request the alternate benchmark |

# SECTION 8: CERTIFICATION AND NOTIFICATION

### Instructions

(CGP Appendix G, Part G.11.2):

The following certification statement must be signed and dated by a person who meets the requirements of Appendix G, Part G.11.2.

This certification must be re-signed in the event of a SWPPP Modification.

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I have no personal knowledge that the information submitted is other than true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

| Name: |  |  | Title: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Signature: |  |  |  |  | Date: |  |

[Repeat as needed for multiple construction operators at the site.]

# SWPPP APPENDICES

Attach the following documentation to the SWPPP:

Appendix A – Site Maps

Appendix B – Copy of 2022 CGP

(Note: The 2022 CGP is available at https://www.epa.gov/npdes/2022-construction-general-permit-cgp)

Appendix C – NOI and EPA Authorization Email

Appendix D – Site Inspection Form and Dewatering Inspection Form (if applicable)

(Note:  EPA has developed a sample site inspection form template that CGP operators can use. The template is available at https://www.epa.gov/npdes/construction-general-permit-resources-tools-and-templates). Where the operator will be dewatering at the site, EPA has developed a separate dewatering inspection form template to use to document the required information. This template is available at https://www.epa.gov/npdes/construction-general-permit-resources-tools-and-templates.

Appendix E – Corrective Action Log

(Note:  EPA has developed a sample corrective action log that CGP operators can use. The form is available at https://www.epa.gov/npdes/construction-general-permit-resources-tools-and-templates)

Appendix F – SWPPP Amendment Log

Appendix G – Subcontractor Certifications/Agreements

Appendix H – Grading and Stabilization Activities Log

Appendix I – Training Documentation

Appendix J – Delegation of Authority

Appendix K – Endangered Species Documentation

Appendix L – Historic Preservation Documentation

Appendix M – Rainfall Gauge Recording

Appendix N – Turbidity Meter Manual and Manufacturer’s Instructions

Appendix A – Site Maps

INSERT SITE MAPS CONSISTENT WITH TEMPLATE SECTION 2.6

Appendix B – Copy of 2022 CGP

INSERT COPY OF 2022 CGP

(Note: The 2022 CGP is available at https://www.epa.gov/npdes/2022-construction-general-permit-cgp)

Appendix C – Copy of NOI and EPA Authorization Email

INSERT COPY OF NOI AND EPA'S AUTHORIZATION EMAIL PROVIDING COVERAGE UNDER THE CGP

Appendix D – Copy of Site and Dewatering Inspection Forms

INSERT COPIES OF SITE AND DEWATERING INSPECTION FORMS YOU WILL USE TO PREPARE INSPECTION REPORTS

(Note:  EPA has developed a sample site inspection and dewatering inspection form templates that CGP operators can use. The template is available at https://www.epa.gov/npdes/construction-general-permit-resources-tools-and-templates)

Appendix E – Copy of Corrective Action Log

INSERT COPY OF CORRECTIVE ACTION LOG YOU WILL USE

(Note:  EPA has developed a sample corrective action log that CGP operators can use. The form is available at https://www.epa.gov/npdes/stormwater-discharges-construction-activities#resources)

Appendix F – Sample SWPPP Amendment Log

Instructions (see CGP Part 7.4):

Create a log here of changes and updates to the SWPPP. You may use the table below to track these modifications.

SWPPP modifications are required pursuant to CGP Part 7.4.1 in the following circumstances:

  - Whenever new operators become active in construction activities on your site, or you make changes to your construction plans, stormwater controls, or other activities at your site that are no longer accurately reflected in your SWPPP (this includes changes made in response to corrective actions triggered under CGP Part 5);

  - To reflect areas on your site map where operational control has been transferred (and the date of transfer) since initiating permit coverage;

  - If inspections or investigations determine that SWPPP modifications are necessary for compliance with this permit;

  - Where EPA determines it is necessary to install and/or implement additional controls at your site in order to meet requirements of the permit;

  - To reflect any revisions to applicable Federal, State, Tribal, or local requirements that affect the stormwater control measures implemented at the site; and

  - If applicable, if a change in chemical treatment systems or chemically-enhanced stormwater control is made, including use of a different treatment chemical, different dosage rate, or different area of application.

| No. | Description of the Amendment | Date of Amendment | Amendment Prepared by [Name(s) and Title] |
| --- | --- | --- | --- |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |
|  |  | INSERT DATE |  |

Appendix G – Sample Subcontractor Certifications/Agreements

SUBCONTRACTOR CERTIFICATION

STORMWATER POLLUTION PREVENTION PLAN

Project Number:

Project Title:

Operator(s):

As a subcontractor, you are required to comply with the Stormwater Pollution Prevention Plan (SWPPP) for any work that you perform on-site. Any person or group who violates any condition of the SWPPP may be subject to substantial penalties or loss of contract. You are encouraged to advise each of your employees working on this project of the requirements of the SWPPP. A copy of the SWPPP is available for your review at the office trailer.

Each subcontractor engaged in activities at the construction site that could impact stormwater must be identified and sign the following certification statement:

I certify under the penalty of law that I have read and understand the terms and conditions of the SWPPP for the above designated project and agree to follow the practices described in the SWPPP.

This certification is hereby signed in reference to the above named project:

Company:

Address:

Telephone Number:

Type of construction service to be provided:

Signature:

Title:

Date:

Appendix H – Sample Grading and Stabilization Activities Log

| Date Grading Activity Initiated | Description of Grading Activity | Description of Stabilization Measure and Location | Date Grading Activity Ceased (Indicate Temporary or Permanent) | Date When Stabilization Measures Initiated |
| --- | --- | --- | --- | --- |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |
| INSERT DATE |  |  | INSERT DATE ☐ Temporary ☐ Permanent | INSERT DATE |

Appendix I –Training Documentation

INSERT DOCUMENTATION CONSISTENT WITH SWPPP TEMPLATE SECTION 1.2 AND CGP PART 7.2.2

Appendix J – Sample Delegation of Authority Form

Delegation of Authority

I, _______________________ (name), hereby designate the person or specifically described position below to be a duly authorized representative for the purpose of overseeing compliance with environmental requirements, including the EPA’s Construction General Permit (CGP), at the ____________________________________ construction site. The designee is authorized to sign any reports, stormwater pollution prevention plans and all other documents required by the permit.

________________________________________ (name of person or position)

________________________________________ (company)

________________________________________ (address)

________________________________________ (city, State, zip)

________________________________________ (phone)

By signing this authorization, I confirm that I meet the requirements to make such a designation as set forth in Appendix G of EPA’s CGP, and that the designee above meets the definition of a “duly authorized representative” as set forth in Appendix G.

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I have no personal knowledge that the information submitted is other than true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Name:

Company:

Title:

Signature:

Date:

Appendix K – Endangered Species Documentation

INSERT DOCUMENTATION CONSISTENT WITH SWPPP TEMPLATE SECTION 3.1 AND CGP APPENDIX D

Appendix L – Historic Properties Documentation

INSERT DOCUMENTATION CONSISTENT WITH SWPPP TEMPLATE SECTION 3.2 AND CGP APPENDIX E

Appendix M – Rainfall Gauge Recording

Use the table below to record the rainfall gauge readings at the beginning and end of each work day. An example table follows.

| Month/Year |  |  | Month/Year |  |  | Month/Year |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Day | Start time | End time | Day | Start time | End time | Day | Start time | End time |
| 1 |  |  | 1 |  |  | 1 |  |  |
| 2 |  |  | 2 |  |  | 2 |  |  |
| 3 |  |  | 3 |  |  | 3 |  |  |
| 4 |  |  | 4 |  |  | 4 |  |  |
| 5 |  |  | 5 |  |  | 5 |  |  |
| 6 |  |  | 6 |  |  | 6 |  |  |
| 7 |  |  | 7 |  |  | 7 |  |  |
| 8 |  |  | 8 |  |  | 8 |  |  |
| 9 |  |  | 9 |  |  | 9 |  |  |
| 10 |  |  | 10 |  |  | 10 |  |  |
| 11 |  |  | 11 |  |  | 11 |  |  |
| 12 |  |  | 12 |  |  | 12 |  |  |
| 13 |  |  | 13 |  |  | 13 |  |  |
| 14 |  |  | 14 |  |  | 14 |  |  |
| 15 |  |  | 15 |  |  | 15 |  |  |
| 16 |  |  | 16 |  |  | 16 |  |  |
| 17 |  |  | 17 |  |  | 17 |  |  |
| 18 |  |  | 18 |  |  | 18 |  |  |
| 19 |  |  | 19 |  |  | 19 |  |  |
| 20 |  |  | 20 |  |  | 20 |  |  |
| 21 |  |  | 21 |  |  | 21 |  |  |
| 22 |  |  | 22 |  |  | 22 |  |  |
| 23 |  |  | 23 |  |  | 23 |  |  |
| 24 |  |  | 24 |  |  | 24 |  |  |
| 25 |  |  | 25 |  |  | 25 |  |  |
| 26 |  |  | 26 |  |  | 26 |  |  |
| 27 |  |  | 27 |  |  | 27 |  |  |
| 28 |  |  | 28 |  |  | 28 |  |  |
| 29 |  |  | 29 |  |  | 29 |  |  |
| 30 |  |  | 30 |  |  | 30 |  |  |
| 31 |  |  | 31 |  |  | 31 |  |  |

Example Rainfall Gauge Recording

| April 2022 |  |  | May 2022 |  |  | June 2022 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Day | 7:00 am | 4:400 pm | Day | 7:00 am | 4:00 pm | Day | 7:00 am | 4:00 pm |
| 1 | -- | -- | 1 | 0.2 | 0 | 1 | 0 | 0.4 |
| 2 | -- | -- | 2 | 0 | 0 | 2 | 0 | 0 |
| 3 | 0 | 0 | 3 | 0.1 | 0.3 | 3 | -- | -- |
| 4 | 0 | 0.3 | 4 | 0 | 0 | 4 | -- | -- |
| 5 | 0 | 0 | 5 | 0 | 0 | 5 | 0 | 0 |

In this example (for only partial months), 0.25-inch rainfall inspections would have been conducted on April 4 and June 1.

Appendix N – Turbidity Monitoring Sampling Documentation

INSERT DOCUMENTATION CONSISTENT WITH SWPPP TEMPLATE SECTION 7.2.8 AND CGP PART 3.3.4