| Project Name: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |
| Date on Plans: |  |  |  |  |  |  |
| Name & Email of person filling out the checklist: |  |  |  |  |  |  |
| Status, Initials of Reviewer, Date |  |  |  |  |  |  |
| Project Applicability: |  |  | ☐ | Soil disturbing areas of one (1) acre or more of land or less than one (1) and part of a larger plan |  |  |
|  |  |  | ☐ | Soil disturbing areas between one/tenth acre and one area of land: requirements in purple |  |  |

| Part III.G.1 - Site Description |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DOES THE SWP3 describe, show or include…. | Pg. # | Y | N | N/A | Comments |
| - the nature and type of construction activity (e.g., low-density residential, shopping mall, highway, etc.) |  | ☐ | ☐ | ☐ |  |
| - the total area of the site and the area of the site that is expected to be disturbed (i.e., grubbing, clearing, excavation, filling, or grading, including off-site borrow areas) |  | ☐ | ☐ | ☐ |  |
| - a measure2 of… |  |  |  |  |  |
| the impervious area (existing, new, and total impervious area after construction) |  | ☐ | ☐ | ☐ |  |
| the percent imperviousness (existing, new, and total impervious area after construction) |  | ☐ | ☐ | ☐ |  |
| - storm water calculations including… |  |  |  |  |  |
| volumetric runoff coefficients for both pre-and post-construction sites |  | ☐ | ☐ | ☐ |  |
| resulting water quality volume |  | ☐ | ☐ | ☐ |  |
| design details for post-construction storm water facilities and pretreatment practices3 |  | ☐ | ☐ | ☐ |  |
| and if applicable, an explanation of the use of exiting post- construction facilities |  | ☐ | ☐ | ☐ |  |
| - any existing data describing… |  |  |  |  |  |
| the site soils |  | ☐ | ☐ | ☐ |  |
| and, if available, the quality of any discharge from the site |  | ☐ | ☐ | ☐ |  |
| - a description of prior land uses at the site; (e.g., was the property used to manage solid or hazardous waste)? |  | ☐ | ☐ | ☐ |  |
| - a description of the condition of on-site streams (prior channelization, existing bed instability or headcuts, channels receiving public maintenance, or natural channels)? |  | ☐ | ☐ | ☐ |  |
| - an implementation schedule that describes the sequence of major construction operations (e.g., grubbing, excavating, grading, utilities, infrastructure installation) and the implementation of erosion, sediment and storm water management practices or facilities to be employed during each operation of the sequence? |  | ☐ | ☐ | ☐ | Click or tap here to enter text. |
| - the name(s) or location(s) and extent of… |  |  |  |  |  |
| the initial and subsequent surface water bodies receiving the stormwater discharge? |  | ☐ | ☐ | ☐ | Click or tap here to enter text. |
| the wetland or other special aquatic sites which will be disturbed and/or will receive the stormwater discharges and their areal extent and description? |  | ☐ | ☐ | ☐ | Click or tap here to enter text. |
| - FOR SUBDIVISION DEVELOPMENTS: a detailed drawing of individual parcels with their erosion, sediment, or stormwater control practices or a typical individual lot with shown standard individual lot erosion and sediment control practice? |  | ☐ | ☐ | ☐ | Click or tap here to enter text. |
| - the location and description of stormwater discharges associated with dedicated asphalt and/or concrete batch plants covered by the NPDES construction storm water general permit? |  | ☐ | ☐ | ☐ | Click or tap here to enter text. |

| Part III.G.1 - Site Description |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DOES THE SWP3 describe, show or include…. | Pg. # | Y | N | N/A | Comments |
| - a cover page identifying… |  |  |  |  |  |
| the name and location of the site |  | ☐ | ☐ | ☐ |  |
| the name and contact information for site operators |  | ☐ | ☐ | ☐ |  |
| and SWP3 authorization agents |  | ☐ | ☐ | ☐ |  |
| preparation date, start date, and completion date |  | ☐ | ☐ | ☐ |  |
| - a modification log documenting grading & stabilization activity and SWP3 amendments that occur in the field |  | ☐ | ☐ | ☐ |  |

| Part III.G.1.n – Site Map Requirements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DOES THE Site map describe, show or include…. | Pg. # | Y | N | N/A | Comments |
| - a Site Map |  |  |  |  |  |
| - limits of earth-disturbing activity of the site including associated off-site borrow or spoil areas that are not addressed by a separate NOI and associated SWP3? |  | ☐ | ☐ | ☐ |  |
| - soils types depicted for all areas of the site, including locations of unstable or highly erodible and/or known contaminated soils? |  | ☐ | ☐ | ☐ |  |
| - existing and proposed contours and delineation of drainage watersheds expected during and after major grading activities as well as the size of each drainage watershed, in acres? |  | ☐ | ☐ | ☐ |  |
| - location of any delineated boundary for required riparian setbacks |  | ☐ | ☐ | ☐ |  |
| - location of conservation easements, open space areas, preserved vegetation, or other protected areas and associated temporary or permanent fencing or signage? |  | ☐ | ☐ | ☐ |  |
| - surface water locations including springs, wetlands, streams, lakes, water wells, etc., on or within 200 feet of the site, including the boundaries of wetlands or stream channels and first subsequent named receiving water(s) the permittee intends to fill or relocate for which the permittee is seeking approval from the Army Corps of Engineers and/or Ohio EPA? |  | ☐ | ☐ | ☐ |  |
| - location of existing and planned buildings, roads, parking facilities, and utilities? |  | ☐ | ☐ | ☐ |  |
| - location of all erosion and sediment control practices, including the location of areas likely to require temporary stabilization during site development? |  | ☐ | ☐ | ☐ |  |
| - location of sediment management traps and basins noting their sediment storage and dewatering (detention) volume and contributing drainage area?4 |  | ☐ | ☐ | ☐ |  |
| - the location(s) of: |  |  |  |  |  |
| permanent stormwater management practices (new and existing) including pre-treatment practices to be used to control pollutants in stormwater after construction operations have been completed? |  | ☐ | ☐ | ☐ |  |
| existing and planned drainage features including catch basins, culverts, ditches, swales, surface inlets, and outlet structures? |  | ☐ | ☐ | ☐ |  |
| - areas designated for the storage or disposal of solid, sanitary, and toxic wastes (including dumpster areas), areas designated for cement truck washout, and areas for vehicle fueling? |  | ☐ | ☐ | ☐ |  |
| - location of designated construction entrances where the vehicles will access the construction site? |  | ☐ | ☐ | ☐ |  |
| - location of proposed floodplain fill, flood plain excavation, stream restoration, or known temporary or permanent stream crossings? |  | ☐ | ☐ | ☐ |  |

| Part III.G.2 - Sediment & Erosion Controls |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Does the SWP3 include the following minimum components… | Pg. # | Y | N | N/A | Comments |
| - Preservation Methods5 |  |  |  |  |  |
| - Has every effort been made to preserve the natural riparian setback (vegetative buffer strip) adjacent to streams or other surface water bodies and existing vegetation, vegetative buffer strips, soil profile, and topsoil? |  | ☐ | ☐ | ☐ |  |
| - Have efforts been made to phase in construction activities to minimize the amount of land disturbance at one time? |  | ☐ | ☐ | ☐ |  |
| - Will any portions of the site be left undisturbed? (e.g., tree preservation areas, topsoil, soil profile) |  | ☐ | ☐ | ☐ |  |
| - Erosion Controls Practices |  |  |  |  |  |
| - Is there a description of the erosion control practices designed to re-establish vegetation or provide suitable cover on disturbed areas after grading? |  | ☐ | ☐ | ☐ |  |
| - Does the SWP3 describe the control practices used to re-stabilize areas after grubbing or construction? |  | ☐ | ☐ | ☐ |  |
| - Does the SWP3 specify the types of stabilization measures to be employed for any time of the year? |  | ☐ | ☐ | ☐ |  |
| - Stabilization (Table 2): Temporary Stabilization |  |  |  |  |  |
| For disturbed areas within 50 feet of a stream remaining dormant for over 14 days, will temporary erosion controls be applied within 2 days? |  | ☐ | ☐ | ☐ |  |
| For disturbed areas over 50 feet away from a stream remaining dormant for over 14 days, will temporary erosion controls be applied within 7 days? |  | ☐ | ☐ | ☐ |  |
| For disturbed areas that will be left idle over winter, will temporary erosion controls be applied prior to onset of winter weather? |  | ☐ | ☐ | ☐ |  |
| Stabilization (Table 1): Permanent Stabilization |  |  |  |  |  |
| For disturbed areas within 50 feet of a stream at final grade, will permanent erosion controls be applied within 2 days of reaching final grade? |  | ☐ | ☐ | ☐ |  |
| For disturbed areas remaining dormant for over 1 year or at final grade, will permanent erosion controls be applied within 7 days of the most recent disturbance? |  | ☐ | ☐ | ☐ |  |
| - Permanent Stabilization of Conveyance Channels |  |  |  |  |  |
| Are channels and outfalls stabilized and have measures been taken to prevent erosive flows? |  | ☐ | ☐ | ☐ |  |
| - Runoff Control Practices: Does the SWP3 incorporate measures to: |  |  |  |  |  |
| - reduce flow rates (riprap, ditch check dams, pipe slope drains)? |  | ☐ | ☐ | ☐ |  |
| - divert runoff from disturbed areas and steep slopes? |  | ☐ | ☐ | ☐ |  |
| - Sediment Control Practices |  |  |  |  |  |
| - Will sediment control devices be implemented for all areas remaining disturbed for over 14 days? (e.g., sediment settling ponds, sediment barriers6, earth diversion dikes, or channels) |  | ☐ | ☐ | ☐ |  |
| - Are detailed drawings of the sediment controls to be used included in the SWP3? |  | ☐ | ☐ | ☐ |  |
| - Timing |  |  |  |  |  |
| Does the SWP3 specify that sediment controls will be implemented within 7 days of the start of grubbing activities and continue to function until the upslope area is stabilized with permanent cover? |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 propose alternate sediment controls for the changing slopes and topography during construction? |  | ☐ | ☐ | ☐ |  |
| Part III.G.2 - Sediment & Erosion Controls |  |  |  |  |  |
| Does the SWP3 include the following minimum components… | Pg. # | Y | N | N/A | Comments |
| - Sediment Settling Ponds |  |  |  |  |  |
| Does the SWP3 include the use of a sediment settling pond? NOTE: This is required for areas with concentrated runoff or when the capacity of sediment barriers or inlet protection has been exceeded.7 |  | ☐ | ☐ | ☐ |  |
| Are alternatives proposed in place of a required settling pond? These must be equivalent to a sediment settling pond effectiveness and be approved by Ohio EPA. |  | ☐ | ☐ | ☐ |  |
| Is dewatering completed with the use of a skimmer or other equivalent device? Dewatering must take place at the surface. |  | ☐ | ☐ | ☐ |  |
| Is the dewatering volume appropriately sized (67 yd3 or 1800 ft3 per acre of total drainage area)? |  | ☐ | ☐ | ☐ |  |
| Is the depth of the dewatering volume for each sediment settling pond less than or equal to 5 feet? NOTE: The base of the dewatering volume is where the skimmer is connected to the outlet. |  | ☐ | ☐ | ☐ |  |
| Will the dewatering volume drain in 48 hours to 72 hours? |  | ☐ | ☐ | ☐ |  |
| Has a sediment storage zone volume been provided (≥ 1000 ft3 per disturbed acre or based on RUSLE calculations)? |  | ☐ | ☐ | ☐ |  |
| Is clean-out of the sediment storage zone specified in the SWP3? (E.g. when sediment occupies 50 percent of the sediment storage zone and before conversion to a post-construction BMP.) |  | ☐ | ☐ | ☐ |  |
| Is the length to width ratio of the settling pond at least two units of length for every one unit of width (> 2:1 length to width)? NOTE: Greater distances from the stormwater inlet of the pond to the outlet increase effectiveness of sediment settlement. |  | ☐ | ☐ | ☐ |  |
| Is the sediment settling pond designed to consider public safety where site limitations preclude a safe design? |  | ☐ | ☐ | ☐ |  |
| Has the use of multiple sediment and erosion control measures been considered and/or planned to maximize pollutant removal? |  | ☐ | ☐ | ☐ |  |
| - Sediment Barriers and Diversions8 |  |  |  |  |  |
| Are sediment barriers or diversions used to intercept sheet flow? NOTE: Sediment barriers are suitable for sheet flow and not for concentrated stormwater flow. |  | ☐ | ☐ | ☐ |  |
| Are alternative sediment barriers, used in place of a silt fence, at least 12-inches in diameter? |  | ☐ | ☐ | ☐ |  |
| Are diversions used to keep runoff away from steep slopes or concentrated flow? |  | ☐ | ☐ | ☐ |  |
| Do sediment barriers meet the maximum drainage area limits of Table 3 or the Rainwater and Land Development manual? |  | ☐ | ☐ | ☐ |  |
| - Inlet Protection |  |  |  |  |  |
| Are all inlets receiving runoff from one or more acres connected to a sediment settling pond? |  | ☐ | ☐ | ☐ |  |
| Have protective measures been specified for all inlets? NOTE: Inlet protection is mandatory. |  | ☐ | ☐ | ☐ |  |
| Does the inlet protection specified meet the standards of Ohio’s Rainwater and Land Development Manual? |  | ☐ | ☐ | ☐ |  |
| - Stream (Surface Waters of the State) Protection |  |  |  |  |  |
| Are structural sediment controls proposed for use in streams? NOTE: Use of structural sediment controls in-stream is prohibited per CGP Part III.G.2.d.v. |  | ☐ | ☐ | ☐ |  |
| Have efforts been made to limit construction disturbance or activities on stream banks, and the width or number of stream crossings? NOTE: If work along a stream bank is necessary, a non-erodible pad or non-erodible stream diversion dams (sandbags) must be installed. If stream crossings are necessary, a non-erodible stream crossing must be installed. |  | ☐ | ☐ | ☐ |  |
| Part III.G.2.e – Post-Construction Storm Water Management |  |  |  |  |  |
| Does the SWP3 include the following minimum components… | Pg. # | Y | N | N/A | Comments |
| Applicability of Post-Construction Controls |  |  |  |  |  |
| Does the SWP3 include the installation of a structural post-construction BMP. NOTE: Post-construction controls are required for all sites with one or more acres of disturbed area. |  | ☐ | ☐ | ☐ |  |
| Will the construction activity result in the installation of any impervious surface? NOTE: Projects that don’t result in the installation of impervious surfaces don’t require the installation of post-construction BMPs. |  | ☐ | ☐ | ☐ |  |
| Is the construction activity a linear project (e.g., pipeline or utility line installation) that does not result in the installation of impervious surface? NOTE: If yes, then the installation of structural post-construction BMPs is not required but minimizing the number of stream crossings is. |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 specify that the permittee is responsible for assuring all post-construction practices meeting plan specifications and intended post-construction conditions have been met before coverage under this permit is terminated? 9 |  | ☐ | ☐ | ☐ |  |
| Post-Construction Operations and Maintenance Plan |  |  |  |  |  |
| Has a stand-alone Operations and Maintenance plan been provided with the SWP3 document? NOTE: The long-term maintenance plan must be developed and provided to the post-construction site operator. |  | ☐ | ☐ | ☐ |  |
| Does the plan include the following… |  |  |  |  |  |
| - a designated entity for stormwater inspection and maintenance responsibilities. |  | ☐ | ☐ | ☐ |  |
| - the routine and non-routine maintenance tasks to be undertaken |  | ☐ | ☐ | ☐ |  |
| - a schedule for inspection and maintenance. |  | ☐ | ☐ | ☐ |  |
| - any necessary legally binding maintenance easements and agreements |  | ☐ | ☐ | ☐ |  |
| - construction drawings or excerpts showing the plan view, profile, and details of the outlet(s). |  | ☐ | ☐ | ☐ |  |
| - a map showing all access and maintenance easements for Table 6a and 6b standard post-construction controls, runoff reduction practices, and alternative post-construction control practices and associated pre-treatment, inlets, outlets, and conveyance facilities. |  | ☐ | ☐ | ☐ |  |
| - provide relevant elevations and associated volumes that dictate when removal of accumulated sediments shall occur. |  | ☐ | ☐ | ☐ |  |
| - a completed City of Middletown Long-term O&M agreement |  | ☐ | ☐ | ☐ |  |
| Small Construction Activities (< 2 Acres) (City of Middletown ESPSC Plan Ch. 8) |  |  |  |  |  |
| Does the SWP3 include one or more structural post-construction BMPs for construction activities with less than 2 acres but more than 1 acre of disturbed area? |  | ☐ | ☐ | ☐ |  |
| If each BMP is not one of the approved post-construction controls in Table 4a or 4b, is there a justification as to why its use was not feasible? Are limiting factors presented? |  | ☐ | ☐ | ☐ |  |
| If so, does the SWP3 explain the technical basis used to select the BMPs chosen where flows exceed pre-development levels? |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 include the installation of velocity dissipation devices at discharge locations and outfall channels? |  | ☐ | ☐ | ☐ |  |
| Has green infrastructure been proposed? |  | ☐ | ☐ | ☐ |  |
| Is the alternative BMP acceptable to the local MS4 or jurisdiction? |  | ☐ | ☐ | ☐ |  |

| Part III.G.2.e – Post-Construction Storm Water Management |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Does the SWP3 include the following minimum components… | Pg. # | Y | N | N/A | Comments |
| Calculation of Water Quality Volume (WQv) |  |  |  |  |  |
| Does the SWP3 include a structural post-construction BMP designed to release the water quality volume over a 24 to 48-hour period? |  | ☐ | ☐ | ☐ |  |
| Is the calculation of the WQv shown? With correct values used for the following: |  | ☐ | ☐ | ☐ |  |
| - volumetric runoff coefficient (Rv)?10 where Rv = 0.05 + 0.9i i = ratio of post-construction impervious surface |  | ☐ | ☐ | ☐ |  |
| - precipitation depth (P = 0.9 inches)? |  | ☐ | ☐ | ☐ |  |
| - and the drainage area (A) to the BMP? |  | ☐ | ☐ | ☐ |  |
| If the structural post-construction BMP will be used for sediment storage and/or has a reduced infiltration capacity, was the WQv increased by an additional 20 percent (“fudge factor”)? |  | ☐ | ☐ | ☐ |  |
| Are the post-construction practices sized to treat 100% of the WQv associated with their contributing drainage area? |  | ☐ | ☐ | ☐ |  |
| Does the drain time in the SWP3 for the proposed structural post- construction BMP match the drain time for the selected BMP in Tables 4a and 4b? 11 |  | ☐ | ☐ | ☐ |  |
| Table 4a Do extended detention practices show an appropriate minimum drain time that shall not discharge more than the first half of the WQv in less than one-third of the drain time? NOTE: Dry = 48 hr; Wet, wetland, permeable pavement, underground storage, and sand/media filtration min. 24, <72 hr. |  | ☐ | ☐ | ☐ |  |
| Table 4a Do extended detention practices show appropriate design features? - Wetland and wet basins: permanent pool = 1WQv - Dry, wet, and wetland: sediment storage = 0.2WQv - Dry: forebay and micro-pool or acceptable pretreatment and a protected outlet. Underground storage: acceptable pretreatment capable of ≥ 50%TSS. |  | ☐ | ☐ | ☐ |  |
| Table 4b Do proposed infiltrating practices show an appropriate maximum drain time? 12 Note: Bioretention and infiltration basin ≤ 24; infiltration trench, permeable pavement, and underground storage ≤ 48 hours. |  | ☐ | ☐ | ☐ |  |
| Table 4b Do proposed infiltrating underground storage practices (for credit) show acceptable pretreatment of ≥ 80% TSS. |  | ☐ | ☐ | ☐ |  |
| Existing or Regional Controls |  |  |  |  |  |
| If existing or regional stormwater BMPs are being used to meet post-construction requirements, do they: |  | ☐ | ☐ | ☐ |  |
| treat runoff from the disturbed area(s) and meet post-construction requirements of the CGP? Note: If the above criteria are met, no additional post-construction BMP(s) are required. |  | ☐ | ☐ | ☐ |  |
| have a legal agreement established such that the regional BMP owner or operator agrees to provide this service in the long term? |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 containing design information for these facilities show contributing drainage areas, capacities, elevations, outlet details, and drain times? |  | ☐ | ☐ | ☐ |  |
| Does the outlet structure of the post-construction BMP allow the discharge of half of the WQv in less than 1/3rd of the drain time? |  | ☐ | ☐ | ☐ |  |

| Part III.G.2.e – Post-Construction Storm Water Management |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Does the SWP3 include the following minimum components… | Pg. # | Y | N | N/A | Comments |
| Public Road Construction/Transportation Projects |  |  |  |  |  |
| For public road construction activities, are the post-construction BMPs designed consistent with the Ohio Department of Transportation’s “Location and Design Manual, Volume Two Drainage Design?” |  | ☐ | ☐ | ☐ |  |
| Offsite Mitigation |  |  |  |  |  |
| For construction activities where a post-construction BMP cannot be placed on-site and will require an offsite post-construction BMP: |  |  |  |  |  |
| Has it been demonstrated that a BMP or BMPs from Tables 4a and 4b are not feasible? |  | ☐ | ☐ | ☐ |  |
| If the SWP3 is proposing to use an offsite post-construction BMP, then does the SWP3 include: |  |  |  |  |  |
| - a maintenance agreement or policy is established to ensure operations and treatment long-term? |  | ☐ | ☐ | ☐ |  |
| - the offsite location discharges to the same HUC-12 watershed unit? |  | ☐ | ☐ | ☐ |  |
| - the mitigation ratio of the WQv is 1.5 to 1 or the WQv at the point of retrofit, whichever is greater? |  | ☐ | ☐ | ☐ |  |
| Previously Developed Areas |  |  |  |  |  |
| Will the site be redeveloped from a previously graded, paved, or built upon area? If yes, was one of the following options used as a post-construction practice: |  | ☐ | ☐ | ☐ |  |
| - 20% net reduction in the site’s volumetric runoff coefficient through impervious area reduction? |  | ☐ | ☐ | ☐ |  |
| - a BMP sized to treat 20% of the WQv for the previously developed area using a standard BMP from Tables 4a or 4b? |  | ☐ | ☐ | ☐ |  |
| For construction involving both previously developed and undeveloped land, was equation 3, the weighted approach for calculating the WQv, shown? WQv = 0.9inches * A * [(Rv1 * 0.2) + (Rv2 – Rv1)]/12 |  | ☐ | ☐ | ☐ |  |
| Are the post-construction practices located to treat impervious areas that are most likely to generate the highest pollution load? (e.g., parking lots and roadways rather than rooftops) |  | ☐ | ☐ | ☐ |  |
| Runoff Reduction Practices |  |  |  |  |  |
| If the SWP3 proposes to use runoff reduction methods to reduce the WQv or size of post-construction practices, are one of the following acceptable practices being used with appropriate credit? - Green Roof - Impervious Surface Disconnection - Rainwater Harvesting - Bioretention Area/Cell - Infiltration Basin - Infiltration Trench - Permeable Pavement (Infiltration) - Underground Storage (Infiltration) - Grass Swale - Sheet Flow to Filter Strip - Sheet Flow to Conservation Area |  | ☐ | ☐ | ☐ |  |
| Do practices meet Ohio EPA’s Rainwater and Land Development Manual specifications? |  | ☐ | ☐ | ☐ |  |
| Are runoff reduction practices used to meet post-construction requirements for areas that cannot drain to a structural practice (e.g., backyards of residential lots) shown in calculations? |  | ☐ | ☐ | ☐ |  |

| Part III.G.2.e – Post-Construction Storm Water Management |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Does the SWP3 include the following minimum components… | Pg. # | Y | N | N/A | Comments |
| Use of Alternative Post-Construction BMPs |  |  |  |  |  |
| Will alternative post-construction BMPs be used? |  | ☐ | ☐ | ☐ |  |
| Has it been demonstrated that a BMP listed in tables 4a and 4b cannot be used? |  | ☐ | ☐ | ☐ |  |
| Does the alternative BMP meet the sediment removal and discharge rate criteria? |  | ☐ | ☐ | ☐ |  |
| Has field or laboratory field testing been performed by a third party? |  | ☐ | ☐ | ☐ |  |
| Has the effectiveness of the proposed alternative post-construction BMP been demonstrated by testing of a similar BMP through the Washington State TAPE or New Jersey Department of Environmental Protection Manufactured Treatment Device programs? |  | ☐ | ☐ | ☐ |  |
| Does the alternative post-construction BMP treat and remove at the minimum 80% of the TSS for influent concentrations equal to or greater than 100mg/L TSS? If concentrations are less than 100mg/L TSS then does the BMP achieve a concentration of TSS less than or equal to 20mg/L? |  | ☐ | ☐ | ☐ |  |
| Does the alternative BMP utilize treatment processes such as filtering or centrifugal separation? If so, can the BMP ensure treatment of 90% of the average annual runoff? |  | ☐ | ☐ | ☐ |  |
| *To be verified before construction starts – Has Ohio EPA approved the use of the alternative post-construction BMP? (Attach correspondence & Alt. Practice Form) NOTE: Ohio EPA requires that approvals for alternative post-construction BMPs are finalized before permittees submit an NOI for permit coverage. |  | ☐ | ☐ | ☐ |  |

| Part III.G.2.f - Surface Water Protection |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DOES THE SWP3 describe, show or include…. | Pg. # | Y | N | N/A | Comments |
| Does the construction site contain any streams, rivers, lakes, or wetlands? |  | ☐ | ☐ | ☐ |  |
| If so, has the U.S. Army Corps of Engineers been contacted for a determination of impacts requiring Clean Water Act 401 or 404 permitting? (Attach any reference numbers) |  | ☐ | ☐ | ☐ |  |
| For stormwater discharges from BMPs into wetlands, have BMPs (e.g., level spreaders, buffers, or infiltration basins) been proposed to diffuse the concentrated flow into non-erosive flow? |  | ☐ | ☐ | ☐ |  |

| Part III.G.2.g. - Other Controls |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DOES THE SWP3 describe, show or include…. | Pg. # | Y | N | N/A | Comments |
| - Non-Sediment Pollutant Controls |  |  |  |  |  |
| Handling of Toxic or Hazardous Materials |  |  |  |  |  |
| Are practices identified for protecting exposure of construction materials, trash, landscape materials, fertilizers, pesticides, herbicides, detergents, and sanitary wastes to precipitation, stormwater runoff, and snow melt? |  | ☐ | ☐ | ☐ |  |
| Are protocols established to prevent the direct discharge of wastewater into the surface waters of the state? Including washout of concrete trucks, stucco, paint, form release oil, and curing compounds. |  | ☐ | ☐ | ☐ |  |
| The SWP3 addresses potential materials and responses to chemical spills and leaks (e.g. directs to onsite Spill Prevention Control and Countermeasure (SPCC) plan). |  | ☐ | ☐ | ☐ |  |

| Part III.G.2.g. - Other Controls |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DOES THE SWP3 describe, show or include…. | Pg. # | Y | N | N/A | Comments |
| Waste Disposal |  |  |  |  |  |
| Covered and leak-proof containers for the disposal of debris, trash, and hazardous or petroleum wastes? |  | ☐ | ☐ | ☐ |  |
| As applicable, does the SWP3 state that all waste will comply with applicable state or local waste disposal requirements and provisions and address issues such as open burning, sanitary wastes, and construction and demolition debris? |  | ☐ | ☐ | ☐ |  |
| Clean Hard Fill |  |  |  |  |  |
| If disposal of bricks, hardened concrete, and/or soil is planned, are these materials required to be free from contamination that may leach to the waters of the state? |  | ☐ | ☐ | ☐ |  |
| If clean construction wastes will be disposed into the property, are there any local prohibitions on this type of disposal? |  | ☐ | ☐ | ☐ |  |
| Equipment Fueling & Maintenance |  |  |  |  |  |
| Does the SWP3 designate areas used for fueling or performing vehicle maintenance that provide separation from watercourses, drainage ditches, field drains, or other stormwater drainage areas? |  | ☐ | ☐ | ☐ |  |
| Spill Reporting Requirements |  |  |  |  |  |
| If applicable, has a spill prevention control and countermeasures (SPCC) plan been developed? NOTE: An SPCC plan is required for sites that have the following: - Aboveground oil/fuel storage capacity of more than 1,320 gallons in all containers 55 gallons or greater in volume, or - Underground oil/fuel storage capacity of more than 42,000 gallons. |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 describe what to do in the event of a small release (less than 25 gallons) of petroleum waste? NOTE: Petroleum-based and concrete curing compounds must have special handling procedures. |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 describe what to do in the event of a larger release (25 or more gallons) of petroleum waste? NOTE: Ohio EPA (1-800-282-9378), the local fire department, and the local emergency planning committee (LEPC) must be contacted within 30 minutes of a spill of 25 or more gallons. |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 provide directions on how to dispose of toxic or hazardous wastes properly? |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 provide areas for recycling used or unused hazardous materials? NOTE: No toxic or hazardous wastes shall be disposed into storm drains, septic tanks, or by burying, burning, or mixing the wastes. |  | ☐ | ☐ | ☐ |  |
| Concrete Wash Waters |  |  |  |  |  |
| Does the SWP3 designate areas used for receiving concrete chute or other concrete wash waters? |  | ☐ | ☐ | ☐ |  |
| If so, are these areas located away from watercourses, drainage ditches, field drains, or other stormwater drainage areas? |  | ☐ | ☐ | ☐ |  |
| Construction Chemical Compounds |  |  |  |  |  |
| Does the SWP3 designate areas used for mixing or storage of compounds such as fertilizers, lime, asphalt, or concrete? |  | ☐ | ☐ | ☐ |  |
| If so, are these areas located away from watercourses, drainage ditches, field drains, or other stormwater drainage areas? |  | ☐ | ☐ | ☐ |  |

| Part III.G.2.g. - Other Controls |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DOES THE SWP3 describe, show or include…. | Pg. # | Y | N | N/A | Comments |
| - Tracking/Off-Site Traffic |  |  |  |  |  |
| Are protocols and practices specified to minimize tracking of sediment and dust off-site? NOTE: Open transport vehicles should be covered during travel on roadways to the point of disposal to prevent debris spills and dust. |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 specify that no detergents may be used to wash vehicles? |  | ☐ | ☐ | ☐ |  |
| Are provisions in place for treating wash waters in either a sediment basin or alternative control before discharge? |  | ☐ | ☐ | ☐ |  |
| - Compliance with Other Requirements |  |  |  |  |  |
| Does the SWP3 state that all construction & demolition debris (C&DD) waste will be disposed of in an Ohio EPA approved C&DD landfill as required by Ohio Revised Code (ORC) 3714? NOTE: Construction debris may be disposed of on-site, but demolition debris must be disposed of in an Ohio EPA approved landfill. Materials that contain asbestos must comply with air pollution regulations (see Ohio Administrative Code 3745-20). |  | ☐ | ☐ | ☐ |  |
| Open Burning |  |  |  |  |  |
| If applicable, does the SWP3 restrict open burning to legal limits (as defined in OAC 3745-19)? NOTE: Open burning is permitted in restricted areas for barbeques, heating, and certain occupational purposes. |  | ☐ | ☐ | ☐ |  |
| Is open burning performed in a non-restricted area, but within 1,000 feet of an inhabited building away from the property? NOTE: Open burning in an unrestricted area is limited to scrap lumber, wooden fence posts, agricultural, land clearing, or landscape wastes. |  | ☐ | ☐ | ☐ |  |
| Dust Controls/Suppressants |  |  |  |  |  |
| Are dust suppressants proposed to be used in the SWP3? |  | ☐ | ☐ | ☐ |  |
| If so, are the areas in which the dust suppressant will be applied located near catch basins for storm sewers or other drainage ways? NOTE: Used oil may not be used as a dust suppressant. |  | ☐ | ☐ | ☐ |  |
| Air Permitting Requirements |  |  |  |  |  |
| If applicable (e.g. activities including but not limited to, mobile concrete batch plants, mobile asphalt plants, concrete crushers, and large generators) have appropriate measures been taken to ensure that all air pollution permits have been obtained? |  | ☐ | ☐ | ☐ |  |
| For restoration or demolition projects, will a notification be submitted to Ohio EPA, Division of Air Pollution Control to determine if asbestos corrective actions are required? |  | ☐ | ☐ | ☐ |  |
| Process Wastewater/Leachate Management |  |  |  |  |  |
| Will all process wastewaters (e.g., equipment washing, leachate associated with on-site waste disposal, and concrete wash-outs) be collected and disposed of properly (e.g., at a publicly-owned treatment works)? NOTE: The NPDES construction stormwater general permit only authorizes the discharge of stormwater and certain uncontaminated non-storm waters. The discharge of non-storm waters to waters of the state may violate local, state, and federal laws or regulations. |  | ☐ | ☐ | ☐ |  |
| - Trench & Ground Water Control |  |  |  |  |  |
| Does the construction site have an onsite trench or pond that must be dewatered? |  | ☐ | ☐ | ☐ |  |
| If so, does the SWP3 call for the discharge of potentially turbid water through a filter bag, sump pit, or other sediment removal device? |  | ☐ | ☐ | ☐ |  |

| Part III.G.2.g. - Other Controls |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DOES THE SWP3 describe, show or include…. | Pg. # | Y | N | N/A | Comments |
| - Contaminated Soils |  |  |  |  |  |
| Does the SWP3 address proper handling and disposal of soils contaminated by petroleum or other chemical spills? NOTE: All contaminated soils must be treated and/or disposed of in Ohio EPA approved solid waste management facilities or hazardous waste treatment, storage, or disposal facilities (TSDFs). |  | ☐ | ☐ | ☐ |  |
| If the site contains contaminated soil, which of the following practices will be used to prevent contamination from being released? |  |  |  |  |  |
| - The use of berms, trenches, and pits to collect contaminated runoff and prevent discharges |  | ☐ | ☐ | ☐ |  |
| - Pumping runoff into a sanitary sewer (with prior approval of the sanitary sewer operator) or a container for transport to an appropriate treatment/disposal facility |  | ☐ | ☐ | ☐ |  |
| - Covering areas of contamination with tarps or other methods that prevent stormwater from coming into contact with the material |  | ☐ | ☐ | ☐ |  |
| Additional Concerns |  |  |  |  |  |
| For construction activities involving the installation and/or replacement of a centralized sanitary system, (including sewer extensions) or a sewerage system (except those serving one, two, and three family dwellings) and potable water lines, a PTI application was submitted to Ohio EPA? NOTE: Coverage under the NPDES construction storm water general permit does not alone authorize the installation of such sanitary sewerage systems or potable water lines. |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 include measures for implementing good housekeeping practices? |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 promote the use of protected storage areas for industrial or construction materials to minimize exposure of such materials to storm water? |  | ☐ | ☐ | ☐ |  |

| Part III.G.2.h - Maintenance |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DOES THE SWP3 describe, show or include…. | Pg. # | Y | N | N/A | Comments |
| The SWP3 describes adequate repair and maintenance procedures for each temporary and permanent control practice planned to ensure continued function. |  | ☐ | ☐ | ☐ |  |

| Part III.G.2.i - Inspections |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DOES THE SWP3 describe, show or include…. | Pg. # | Y | N | N/A | Comments |
| The SWP3 states that only “qualified inspection personnel” will perform the inspections? |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 require weekly inspections of BMPs and an inspection by the end of the next calendar day (excluding weekends and holidays) after every rain event of 0.5 inches within 24 hours? |  | ☐ | ☐ | ☐ |  |
| The SWP3 states that the inspection frequency may be reduced to monthly for dormant sites if: - the entire site is temporarily stabilized or - runoff is unlikely due to weather conditions for extended periods of time (e.g., frozen ground)? |  | ☐ | ☐ | ☐ |  |
| If the site will be dormant for a long period, it’s stabilized, and less frequent inspections are desired, does the SWP3 call for a waiver request to be submitted to OEPA for a reduction to monthly inspections? |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 include an inspection checklist (to be completed and signed after every inspection) that includes: - the inspection date; - names, titles, and qualifications of inspectors; - weather for the period since the last inspection (e.g., beginning, duration, & rainfall amount of each storm event and whether a discharge occurred); - weather and a description of any discharges occurring at the time of the inspection; - location(s) of discharges of sediment or other pollutants from the site; - location(s) of BMPs that need to be maintained; - location(s) of BMPs that failed to operate as designed or proved inadequate for a location; - location(s) where additional BMPs are needed that did not exist at the time of inspection; - and corrective action required including any changes to the SWP3 necessary and implementation dates |  | ☐ | ☐ | ☐ |  |
| The SWP3 details the areas to inspect (disturbed areas; material storage areas; erosion and sediment controls; discharge locations; and vehicle entrance/exit locations)? |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 state that an inspection checklist will be completed and signed by the inspector after every inspection? |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 state that inspection records will be kept for 3 years after termination of construction activities? |  | ☐ | ☐ | ☐ |  |
| Does the SWP3 specify the time within which BMPS must be repaired, maintained or a new functional BMP installed? - within 3 days of inspection for non-sediment pond BMPs - within 10 days of inspection for sediment ponds to be repaired or cleaned out and replacing a BMP not meeting the intended function or missing from the site. |  | ☐ | ☐ | ☐ |  |

Additional Comments:

References and Notes:

## p.1 This checklist is a modification of an existing Ohio EPA SWP3 Review Checklist that reflects the 2018 Construction General Permit (CGP) language ## p.1 (c) This differs from the previous permit which called for an estimate. The new permit calls for a “measure” of impervious area and percent imperviousness ## p.1 (d) Design details include contributing drainage areas, capacities, elevations, outlet details and drain times shall be included in the SWP3; and if applicable, an explanation of the use of existing post-construction facilities ## p.2 (n) ix Ohio EPA recommends using data sheets to provide data for all sediment traps and basins noting inputs to design and resulting parameters (e.g. contributing drainage areas, disturbed area, detention volume, sedimentation volume, practices surface area, dewatering time, outlet type and dimensions) ## p.3 (a) the Previous permit had “Non-Structural” Preservation Methods ## p.3 (d) New CGP substitutes the term “sediment barriers” for “silt fences” as examples of sediment control practices. ## p.3 (d) ii New CGP removes drainage area of 10 acres or greater of disturbed land criterion for sediment settling ponds. These are required for drainage areas exceeding 1 acre. ## p.4 (d) iii Placing sediment barriers in a parallel series does not extend the size of the drainage area being covered. ## p.5 Post-construction conditions include, but are not limited to, sediment removed from, and sediment storage restored to, permanent pools, sediment control outlets removed and replaced with permanent post-construction discharge structures, and all slopes and drainageways permanently stabilized. ## p.6 The new CGP replaces the use of runoff coefficient (C). ## p.6 BMPs presented in Tables 4a and 4b are considered standard BMPs for general use. The identified BMPs have changed from the previous CGP and are broken into two types: Extended Detention (Table 4a) and Infiltration (Table 4b). Tables 4a and 4b replace the former Table 2. ## P.6 See Page 22 of the final OH000005 permit for notes about Table 4b and additional requirements.

CGP Table 1: Permanent Stabilization

| Area requiring permanent stabilization | Time frame to apply erosion controls |
| --- | --- |
| Any areas that will lie dormant for one year or more | Within seven days of the most recent disturbance |
| Any areas within 50 feet of a surface water of the state and at final grade | Within two days of reaching final grade |
| Other areas at final grade | Within seven days of reaching final grade within that area |

CGP Table 2: Temporary Stabilization

| Area requiring permanent stabilization | Time frame to apply erosion controls |
| --- | --- |
| Any disturbed areas within 50 feet of a surface water of the state and not at final grade | Within two days of the most recent disturbance if the area will remain idle for more than 14 days |
| Any disturbed areas that will be dormant for more than 14 days but less than one year, and not within 50 feet of a surface water of the state | Within seven days of the most recent disturbance within the area For residential subdivisions, disturbed areas must be stabilized at least seven days prior to transfer of permit coverage for the individual lot(s). |
| Disturbed areas that will be idle over winter | Prior to the onset of winter weather |

Rain Water and Land Development: Table 3 Sediment Barrier Maximum Drainage Area Based on Slope

| Maximum drainage area (in acres) to 100 linear feet of sediment barrier | Range of slope for a particular drainage area (in percent) |
| --- | --- |
| 0.5 | < 2% |
| 0.25 | > 2% but < 20% |
| 0.125 | > 20% but < 50% |